Project Report

AI FOR MEDICAL DIAGNOSIS (IMAGE CLASSIFICATION)

Artificial Intelligence

Submitted By:

[Huzaifa Shahbaz]

[21-CE-009]

[Aqsa Shah]

[21-CE-039]

Submitted to:

Engr. Hareem Khan

Dated:

19thMay,2025

Department of Computer Engineering,

HITEC University, Taxila

Table of Contents

ABSTRACT:	3

1.	INTRODUCTION	4

1.1	INTRODUCTION	4

1.2	PROBLEM STATEMENT	4

1.3	OBJECTIVES	5

2.1	METHODOLOGY	6

2.2	STEPS OF METHDOLOGY	6

# ABSTRACT:

AI is changing the landscape of medical diagnostics through image classification by analyzing complex and very delicate medical images with deep learning and machine learning algorithms. AI has shown good performance in detecting cancer and other diseases, often at par with or exceeding human expertise. The introduction of AI into imaging helps in increasing accuracy, reduces human error, and fastens the overall diagnostic process, thereby impacting patient outcomes positively. There are AI models for high-precision identification of mammograms for breast cancer and skin cancer in dermatological images. However, other challenges still hold back the wider adoption of AI in clinical practice: interpretability of AI decisions, data privacy, and the necessity for extensive, good-quality datasets.

CHAPTER ONE

# INTRODUCTION

# INTRODUCTION

AI has reformed medical diagnostics, thus allowing for accurate, efficient, and early detection of diseases. Image classification-the other end of artificial intelligence-is all about drawing meaning from medical imaging modalities like X-rays, MRIs, CT scans, and histopathological images. Deep learning algorithms primarily convolutional neural networks (CNNs) are instead used to extract and learn relevant features from images, thus relieving the burden on radiologists and pathologists for interpretation. AI-based image classification has offered consistent and scalable support to diagnostics in areas with a shortage of medical professionals. AI systems are able to detect very subtle patterns, thereby improving the accuracy of diagnoses and early detection of diseases like cancer, pneumonia, diabetic retinopathy, and cardiovascular diseases. Previous studies have shown that AI models detect specific medical conditions with accuracy comparable to expert radiologists and sometimes much better than them in breast cancer detection, pneumonia detection, and skin cancer detection. Such developments in diagnostic tests would enhance clinical decision-making and have potential to democratize healthcare by integrating these tools into mobile apps and remote clinics. Concerns surrounding the integration of AI relating to data privacy and confidentiality, model interpretability, bias in training data, and clinical validation. Today, therefore, research continues to develop performance-elevating methodologies and design ethical, explainable, and generalizable AI systems for real-world situations in healthcare.

# PROBLEM STATEMENT

Technology has changed the way we communicate, work, and play over the last few years. The rise of the smartphone and social media take communication now sits in each of our pockets with a battery powered app powers device only a few inches away. In addition, remote work and virtual meetings are incredibly common, which seems to be different options for collaboration as well. With the development of technology further growth will see an updated influence on society, both challenges, and improvements of it.

# OBJECTIVES

- Examine state-of-the-art artificial intelligence (AI) approaches for medical image classification, such as tumor, fracture, and other anomaly detection in radiographs, CT scans, and MRIs, besides discussing their limitations.

- Convolutional neural networks (CNNs) and other architectures of deep learning are used to identify the key features in a medical image and patterns that will lead to very accurate diagnostic outcomes.

- Create an efficient AI-based image classification model that accurately and systematically categorizes medical images into diagnostic categories.

- The study compares the performance of various deep learning models like Residual Network  (ResNet), Visual Geometry Group (VGG), DenseNet, and Inception to determine the most effective architecture for clinical deployment.

- The study examines the ethical, regulatory, and clinical implications of incorporating AI-based image classification tools in diagnostic workflows to ensure transparency, explainability, and patient safety.

CHAPTER TWO

- METHODOLOGY

# METHODOLOGY

The  methodology for AI in medical diagnosis using image classification involves data collection, preprocessing, annotation, model selection, training and validation, testing and evaluation, and deployment. Acquiring labeled medical images from trusted sources is the first step. Preprocessing enhances image quality using normalization, resizing, and augmentation techniques. Expert-labeled data is used for annotation and training. Deep learning models like CNNs are chosen for feature extraction and classification. Training and validation are performed on a training dataset, and performance is assessed using metrics like accuracy, precision, recall, F1-score, and Area under the Receiver Operating Characteristic Curve (ROC-AUC).

# STEPS OF METHDOLOGY

The methodology for AI-POWERED medical diagnosis using image classification typically involves the following steps

STEP 1:DATA COLLECTION AND PREPROCESSING:

Acquiring a medically verified dataset from reputable sources like NIH Chest X-ray Dataset, ISIC Skin Cancer Dataset, or Kaggle's Diabetic Retinopathy Dataset is the first step, containing labeled medical images like X-rays, CT scans, MRIs, and dermatological images.

Preprocessing involves:

- The process involves normalizing the values of the image pixels.

- The process involves resizing images to a uniform input shape, such as 224x224.

- The process involves enhancing the dataset size and enhancing model generalization through techniques like rotation, flipping, and zooming.

- The process of noise removal can be achieved through techniques such as Gaussian filtering.

- The process of segmentation can be used to identify specific areas of interest, such as tumors or lesions.

STEP 2:FEATURE EXTRACTION

Deep learning models, particularly Convolutional Neural Networks (CNNs), are used to extract spatial features from medical images, often fine-tuned using transfer learning. The focus is on learning edge features, texture patterns, and localized abnormalities.

STEP 3:MODEL TRAINING AND VALIDATION

The subsequent phase involves training the neural network model on the prepared dataset after feature extraction.

- Split ratio:

70% of the training is done, followed by 15% validation and 15% testing.

- Loss function:

The binary cross entropy or categorical cross entropy is determined by the output labels.

- Optimizer:

Adam or SGD can be used with learning rate scheduling.