Final Year Project Report

IOT BASED AIR QUALITY INDEX METER

Submitted by:

Huzaifa Shahbaz

21-CE-009

Supervisor Name:

MAAM SARA TEHSIN

LECTURER

Dated:

2nd September 2024

Department of Computer Engineering,

HITEC University, Taxila

Contents

ABSTRACT:	13

CHAPTER#1 INTRODUCTION	13

1.1INTRODUCTION:	13

CHAPTER#2 OBJECTIVES	14

2.1OBJECTIVES:	14

CHAPTER#3 PROBLEM STATEMENT	15

3.1PROBLEM STATEMENT:	15

CHAPTER#4 LITERATURE REVIEW /  BACKGROUND	15

4.1LITERATURE REVIEW/BACKGROUND:	15

CHAPTER#5 FUNCTIONAL REQUIREMENTS	21

5.1FUNCTIONAL REQUIREMENTS:	21

5.1.1SENSOR INTEGRATION:	21

5.1.2 DATA ACQUISITION AND PROCESSING:	22

5.1.3 DATA TRANSMISSION:	22

5.1.4 CLOUD INTEGRATION:	22

5.1.5 USER INTERFACE:	22

5.1.6 ALERTS AND NOTIFICATIONS:	22

5.1.7 CALIBRATION AND MAINTENANCE:	22

5.1.8 POWER MANAGEMENT:	23

5.1.9 SECURITY:	23

5.1.10 SCALABILITY:	23

CHAPTER#6 NON-FUNCTIONAL REQUIREMENTS	23

6.1NON-FUNCTIONAL REQUIREMENTS:	23

6.1.1 PERFORMANCE:	23

6.1.2 RELIABILITY:	23

6.1.3 SCALABILITY:	24

6.1.4 USABILITY:	24

6.1.5 SECURITY:	24

6.1.6 MAINTAINABILITY:	24

6.1.7 COMPATIBILITY:	24

6.1.8 COST EFFICIENCY:	24

6.1.9 ENVIRONMENTAL CONSIDERATIONS:	25

6.1.10 REGULATORY AND COMPLIANCE:	25

CHAPTER#7 USE CASES OF AQI METER	25

7.1 USE CASES OF AQI METER:	25

7.1.1 URBAN AIR QUALITY MONITORING:	25

7.1.1.1ACTORS:	25

7.1.1.2 DESCRIPTION:	25

7.1.2 PUBLIC HEALTH ALERTS:	25

7.1.2.1 ACTORS:	25

7.1.2.2 DESCRIPTION:	26

7.1.3 INDUSTRIAL COMPLIANCE MONITORING:	26

7.1.3.1 ACTORS:	26

7.1.3.2 DESCRIPTION:	26

7.1.4 EDUCATIONAL PURPOSE:	26

7.1.4.1 ACTORS:	26

7.1.4.2 DESCRIPTION:	26

7.1.5 SMART CITY INTEGRATION:	26

7.1.5.1 ACTORS:	26

7.1.5.2 DESCRIPTION:	27

7.1.6 RESIDENTIAL AIR QUALITY MONITORING:	27

7.1.6.1 ACTORS:	27

7.1.6.2 DESCRIPTION:	27

7.1.7 TRAVEL AND TOURISM:	27

7.1.7.1 ACTORS:	27

7.1.7.2 DESCRIPTION:	27

7.1.8 EMERGENCY RESPONSE:	28

7.1.8.1 ACTORS:	28

7.1.8.2 DESCRIPTION:	28

CHAPTER#8 PROPOSED DESIGN METHODOLOGY/FRAMEWORK /ARCHITECTURE	28

8.1PROPOSED DESIGN METHODOLOGY/FRAMEWORK /ARCHITECTURE:	28

8.1.1 PROPOSED DESIGN METHODOLOGY:	28

8.1.1.1 REQUIREMENTS ANALYSIS:	28

8.1.1.2 SYSTEM DESGIN:	29

8.1.1.3 DEVELOPMENT:	29

8.1.1.3.1 HARDWARE DEVELOPMENT:	29

8.1.1.3.2 FIRMWARE UPDATE:	29

8.1.1.3.3 CLOUD PLATFORM SETUP:	29

8.1.1.4 INTEGRATION AND TESTING:	29

8.1.1.5 DEPLOYMENT:	29

8.1.1.6 MAINTENANCE AND UPDATES:	30

8.1.2 PROPOSED FRAMEWORK:	30

8.1.2.1 DATA ACQUISITION LAYER:	30

8.1.2.1.1 COMPONENTS:	30

8.1.2.1.2 FUNCTION:	30

8.1.2.2 PROCESSING LAYER:	30

8.1.2.2.1 COMPONENTS:	30

8.1.2.2.2 FUNCTION:	30

8.1.2.3 COMMUNICATION LAYER:	31

8.1.2.3.1 COMPONENTS:	31

8.1.2.3.2 FUNCTION:	31

8.1.2.4 CLOUD LAYER:	31

8.1.2.4.1 COMPONENTS:	31

8.1.2.4.2 FUNCTION:	31

8.1.2.5 APPLICATION LAYER:	31

8.1.2.5.1 COMPONENTS:	31

8.1.2.5.2 FUNCTION:	31

8.1.3 PROPOSED ARCHITECTURE:	32

8.1.4 KEY FEATURES  OF THE ARCHITECTURE:	32

8.1.4.1 MODULAR DESIGN:	32

8.1.4.2 REAL-TIME DATA PROCESSING:	32

8.1.4.3 SCALABILITY:	32

8.1.4.4 SECURITY MEASURE:	33

8.1.4.5 USER ACCESSIBILITY:	33

CHAPTER#9 ABSTRACT DESIGN	33

9.1ABSTRACT DESIGN:	33

9.2 KEY COMPONENTS:	33

9.2.1 SENSORS:	33

9.2.2 MICROCONTROLLER UNIT(MCU):	33

9.2.2.1 RESPONSIBILITES:	34

9.2.3 COMMUNICATION MODULE:	34

9.2.4 CLOUD PLATFORM:	34

9.2.4.1 FUNCTIONS:	35

9.2.5 USER INTERFACE:	35

9.2.5.1 FEATURES:	35

9.3 DATA FLOW:	35

9.3.1 DATA COLLECTION:	35

9.3.2 PROCESSING:	35

9.3.3 TRANSMISSION:	35

9.3.4 CLOUD PROCESSING:	36

9.3.5 USER ACCESS:	36

9.4 DESIGN PRINCIPLES:	36

9.4.1 MODULARITY:	36

9.4.2 SCALABILITY:	36

9.4.3 SECURITY:	36

9.4.4 RELIABILITY:	36

CHAPTER#10 COMPONENT-LEVEL DESIGN	37

10.1COMPONENT-LEVEL DESIGN:	37

10.2 SENSORS:	37

10.2.1 COMPONENTS:	37

10.3 MIRCOCONTOLLER UNIT(MCU):	38

10.3.1 COMPONENTS:	38

10.3.2 RESPONSIBILITES:	38

10.3.2.1 DATA ACQUSITION:	38

10.3.2.2 DATA PROCESSING:	39

10.3.2.3 POWER MANAGEMENT:	39

10.3.2.4 ERROR HANDLING:	39

10.3.3 INTERFACE:	39

10.4 COMMUNICATION MODULE:	39

10.4.1 COMPONENTS:	39

10.4.2 RESPONSIBILITES:	40

10.4.3 INTERFACE:	40

10.5 POWER SUPPLY:	40

10.5.1 COMPONENTS:	40

10.5.2 RESPONSIBILITES:	41

10.5.3 INTERFACE:	41

10.6 CLOUD PLATFORM:	41

10.6.1 COMPONENT:	41

10.6.2 RESPONSIBILITES:	42

10.6.3 INTERFACE:	42

10.7 USER INTERFACE:	42

10.7.1 COMPONENT:	42

10.7.2 RESPONSIBILTES:	43

10.7.3 INTERFACE:	43

10.8 ENCLOSURE AND ENVIRONMENTAL PROTECTION:	43

10.8.1 COMPONENT:	43

10.8.2 RESPONSIBILITES:	43

10.9 DATA FLOW:	43

CHAPTER#11 SYSTEM REQUIREMENTS SPECIFICATIONS(SRS)	44

11.1SYSTEM REQUIREMENTS SPECIFICATIONS (SRS):	44

11.2 PURPOSE:	44

11.3 SCOPE:	44

11.4 INTENDED AUDIENCE:	44

11.5 DEFINITIONS,ACRONYMS AND ABBREVATION:	45

11.6 FUNCTIONAL REQUIREMENTS:	45

11.6.1ACCURATE POLLUTANT MEASUREMENT FR1:	45

11.6.2 REAL-TIME AQI CALCULATION FR2:	45

11.6.3 DATA TRANSMISSION FR3:	45

11.6.4 DATA STORAGE AND VISUALIZATION FR4:	46

11.6.5 USER ALERT AND NOTIFICATIONS FR5:	46

11.6.6 SYSTEM CONFIGURATION AND MANAGEMENT FR6:	46

11.7 NON-FUNCTIONAL REQIUREMENTS:	46

11.7.1 PERFORMANCE NFR1:	46

11.7.2 RELIABILITY NFR2:	46

11.7.3 SCALABILITY NFR3:	46

11.7.4 SECURITY NFR4:	47

11.7.5 USABILITY NFR5:	47

11.7.6 MAINTAINABILITY NFR6:	47

11.8 PERFORMANCE METRICS:	47

11.8.1 ACCURACY:	47

11.8.2 LATENCY:	47

11.8.3 UPTIME:	47

11.8.4 SCALABILITY:	48

11.9 EQUATIONS FOR AQI CALCUALTION:	48

11.10 FIGURES OF SPECIFIC REQUIREMENTS SPECIFICATIONS (SRS):	49

CHAPTER#12 HARDWARE/SOFTWARE TOOLS	50

12.1 HARDWARE/SOFTWARE TOOLS:	50

12.1.1 HARDWARE TOOLS:	50

12.1.2 SOFTWARE TOOLS:	51

12.2 DECIDED TO CHOOSE MENTIONED TOOLS:	52

12.2.1 HARDWARE TOOLS:	52

12.2.2 SOFTWAE TOOLS:	55

CHAPTER#13 SUSTAINABLE DEVELOPMENT GOALS(SDGs)	59

13.1 SUSTAINABLE DEVELOPMENT GOALS (SDGs):	59

13.2 SDG 3 GOOD HEALTH AND WELL-BEING:	59

13.2.1 TARGET 3.9:	59

13.2.2 CONTRIBUTION:	59

13.3 SDG 11:SUSTAINABLE CITIES AND COMMUNITIES:	60

13.3.1TARGET 11.6:	60

13.3.2 CONTRIBUTION:	60

13.4 SDG 13:CLIMATE ACTION:	61

13.4.1 TARGET 13.2:	61

13.4.2 CONTRIBUTION:	61

13.5 SDG 9:INDUSTRY,INNOVATION AND INFRASTRUCTURE:	61

13.5.1 TARGET 9.4:	61

13.5.2 CONTRIBUTION:	61

13.6 SDG 15:LIFE ON LAND:	62

13.6.1 TARGET 15.1:	62

13.6.2 CONTRIBUTION:	62

13.7 SDG 7:AFFORDABLE AND CLEAN ENERGY:	63

13.7.1 TARGET 7.3:	63

13.7.2 CONTRIBUTION:	63

13.8 SDG 12:RESPONSIBLE CONSUMPTION AND PRODUCTION:	63

13.8.1 TARGET 12.4:	63

13.8.2 CONTRIBUTION:	64

CHAPTER#14 ANDROID STUDIO	64

14.1 ANDROID STUDIO:	64

14.2 ANDROID STUDIO FOR IOT-BASED AIR QUALITY INDEX METER:	64

14.2.1 INTRODUCTION:	64

14.3 SYSTEM ARCHITECTURE:	65

14.3.1 COMPONENTS:	65

14.4 APPLICATION FEATURES:	65

14.4.1 REAL-TIME DATA DISPLAY:	65

14.4.2 GRAPHICAL VISULAIZATION:	65

14.4.3 ALERTS AND NOTIFICATION:	65

14.4.4 HISTORICAL DATA STORAGE:	65

14.5 DEVELOPMENT PROCESS:	66

14.5.1 FRONTED DEVELOPMENT:	66

14.5.2 BACKEND INTEGRATION:	66

14.5.3 CONNECTIVITY:	66

14.6 CHALLENGES AND SOLUTIONS:	66

14.6.1 DATA LATENCY:	66

14.6.2 POWER EFFICIENCY:	66

14.6.3 SECURITY:	66

14.7 TESTING AND DEPLOYMENT:	67

14.7.1 TESTING:	67

14.7.2 DEPLOYMENT:	67

14.8 PROGRAMS OF IOT-BASED AIR QUALITY INDEX METER:	67

14.8.1 JAVA CODE OF IOT-BASED AIR QUALITY INDEX METER:	67

14.8.3 MAIN ACTIVITY OF IOT-BASED AIR QUALITY INDEX METER:	69

14.8.4 OUTPUT OF IOT-BASED AIR QUALITY INDEX METER:	71

CHAPTER#15 FIREBASE	71

15.1FIREBASE:	71

15.2 STEPS FOR FIREBASE INTERGRATION IN AN IOT-BASED AIR QUALITY INDEX METER:	72

15.2.1 SETUP FIREBASE:	72

15.2.1.1 CREATE A FIREBASE PROJECT:	72

15.2.1.2 ENABLE REALTIME DATABASE OR FIREBASE:	72

15.2.1.3 SETUP RULES:	72

15.2.2 PREPARE ESP32 FOR FIREBASE COMMUNICATION:	72

15.2.2.1 INSTALL FIREBASE ESP32 LIBRARY:	72

15.2.2.2 FIREBASE CREDENTIALS SETUP:	72

15.2.3 INTEGRATE SENSORS WITH ESP32:	73

15.2.3.1 CONNECT AIR QUALITY SENSORS:	73

15.2.3.2 READ DATA FROM SENSORS:	73

15.2.4 SEND DATA TO FIREBASE:	73

15.2.4.1 WRITE CODE TO SEND DATA:	73

15.2.5 VISUALIZE DATA IN FIREBASE:	75

15.2.5.1 FIREBASE CONSOLE:	75

15.2.5.2 FIREBASE ANALYTICS:	75

15.2.6 ADDITIONAL FEATURES:	75

15.2.6.1 PUSH NOTIFICATIONS:	75

15.2.6.2 DATA RETRIEVAL ON MOBILE/WEB APP:	75

CHAPTER#16 BLYNK APP	75

16.1BLYNK APP:	75

16.2 KEY COMPOENETS:	76

16.2.1 BLYNK APPLICATIONS:	76

16.2.2 ESP32 MICROCONTROLLER:	76

16.2.3 AIR QUALITY SENSORS:	76

16.2.4 CLOUD CONNECTIVITY:	76

16.2.5 VISUALIZATION AND CONTROL:	77

16.3 BENEFITS:	77

16.3.1 REAL-TIME MONITORING:	77

16.3.2 REMOTE ACCESS:	77

16.3.3 CUSTOM ALERTS:	77

16.3.4 USER-FRIENDLY INTERFACE:	77

16.4 PROGRAMS OF BLYNK APP	78

CHAPTER#17 MATLAB	78

17.1MATLAB:	78

17.2 AIR QUALITY INDEX OVERVIEW(AQI):	78

17.3 ROLE OF IOT:	78

17.3.1 SENSORS:	78

17.3.2 CONNECTIVITY MODULES:	78

17.3.3 PROCESSING UNITS:	78

17.4 USING FOR THE AQI METER:	79

17.4.1 DATA ACQUISTION:	79

17.4.2 SIGNAL PROCESSING:	79

17.4.3 DATA ANALYSIS AND CALIBRATION:	79

17.4.4 AQI CALCULATION:	79

17.4.5 VISUALIZATION:	80

17.4.6 PREDICTION AND MACHINE LEARNING:	80

17.4.7 CLOUD INTERGRATION:	80

17.5 MATLAB IOT-BASED AQI OVERFLOW:	80

17.5.1 DATA COLLECTION:	81

17.5.2 DATA PROCESSING:	81

17.5.3 AQI CALCULATIONS:	81

17.5.4 DATA VISUALIZATION:	81

17.5.5 MACHINE LEARNING:	81

17.5.6 CLOUD INTEGRATION:	81

17.6 PROGRAMS OF MATLAB FOR IOT-BASED AIR QUALITY INDEX METER:	81

17.6.1 ESP32 MATLAB CODE:	81

CONTENTS OF TABLE

Table 4.1:LITERATURE REVIEW OF AIR QUALITY INDEX	6

Table 4.2:LITERATURE REVIEW COMPARSION	7

Table 4.3:COMPARSION OF PROPOSED SYSTEM WITH EXISTING SYSTEM	11

CONTENTS OF FIGURES

Figure 8.1.1:PROPOSED ARCHITECTURE OF IOT-BASED AIR QUALITY INDEX METER	30

Figure 9.2.2:PM2.5,PM10,NO2 AND O3	31

Figure 9.2.3:MICROCONTOLLER UNIT(ESP32 AND ARDUINO)	32

Figure 9.2.4:CLOUD PLATOFRM(AWS IOT,AZURE IOT HUB AND GOOGLE CLOUD IOT)	32

Figure 10.2.5:PM2.5 AND PM10	35

Figure 10.2.6:GAS SENSORS(MQ-5 AND MQ-135)	36

Figure 10.3.7:ESP32 AND ARDUNIO	36

Figure 10.4.8:Wi-Fi MODULES OF ESP32/ESP8266	37

Figure 10.4.9:RESPONSIBILIES OF COMMUNICATION MODULE	38

Figure 10.5.10:LITHUIM-ION BATTEY AND POWER MANAGEMENT	38

Figure 10.6.11:AWS IOT CORE,AZURE IOT HUB AND GOOGLE CLOUD IOT	39

Figure 10.6.12:EXCEL	39

Figure 10.6.13:MQTT AND HTTP INTERFACE OF CLOUD PLATFORM	40

Figure 10.7.14:WEB APPLICATIONS AND MOBILE APPLICATIONS OF USER INTERFACE	40

Figure 11.10.15:BLOCK DIAGRAM OF IOT-BASED AQI METER	47

Figure 11.10.16:PROJECT DIAGRAM OF IOT-BASED AQI METER	48

Figure 12.2.17:ESP32/ESP8266	50

Figure 12.2.18:ARDUINO	50

Figure 12.2.19:MQ-135 AND MQ-5	50

Figure 12.2.20:OM2.5 AND PM10	51

Figure 12.2.21:BATTARY PACK	51

Figure 12.2.22:POWER ADAPTER	51

Figure 12.2.23:CHARGING SETUP	52

Figure 12.2.24:WEATHERPROOF HOUSING	52

Figure 12.2.25:Wi-FI/BLUETOOTH MODULES	52

Figure 12.2.26:ANDROID STUDIO	53

Figure 12.2.27:FIREBASE	53

Figure 12.2.28:MATLAB	53

Figure 12.2.29:PYTHON	54

Figure 12.2.30:ARDUINO FRAMEWORK	54

Figure 12.2.31:VISUAL STUDIO CODE FIRMWAE CODING	54

Figure 12.2.32:THING SPEAK	54

Figure 12.2.33:MQTT	55

Figure 12.2.34:AWS IOT	55

Figure 12.2.35:ARAFRUIT IO	55

Figure 12.2.36:GITHUB	55

Figure 12.2.37:AUTHENTICATION MECHANISMS	56

Figure 12.2.38:GAFRANA	56

Figure 12.2.39:EXCEL	56

Figure 12.2.40:HTTP AND HTTPS	56

Figure 12.2.41:SENSOR AND Wi-Fi LIBRARIES	57

Figure 13.2.42:SDG 3:GOOD HEALTH AND WELL-BEING	58

Figure 13.3.43:SDG 11:SUSTAINABLE CITIES AND COMMUNITIES	58

Figure 13.4.44:SDG 13 CLIMATE ACTION	59

Figure 13.5.45:SDG 9:INDUSTRY,INNOVATION AND INFRASTRUCTURE	60

Figure 13.6.46:SDG 15 LIFE ON LAND	60

Figure 13.7.47:SDG 7 AFFORDABLE AND CLEAN ENERGY	61

Figure 13.8.48:SDG 12 RESPONSIBLE CONSUMPTION AND PRODUCTION	62

CONTENTS OF EQUATIONS

Equation 11.9.1:GENERAL AQI CALCULATION FORMULA	48

Equation 11.9.2:AQI CALCULATIONS BASED ON SPECIFIC POLLUTANT CONCENTRATIONS	48

Equation 17.4.3:AQI CALCUALTION	79

# ABSTRACT:

The abstract of this project aims to address air pollution, a major concern in urbanization and industrial activities, by designing and implementing an IoT-based Air Quality Index (AQI) meter. The system measures pollutants like PM2.5, PM10, NO2, and O3, converting these measurements into a comprehensive AQI value. The collected data is transmitted via a wireless network to a cloud-based platform, where it is processed and visualized. Users can access real-time AQI information via a web interface or mobile application, enabling informed environmental decisions. The system includes a microcontroller for sensor interfacing, a communication module for data transmission, and a cloud server for data storage and analysis. The hardware tools of this project working components which is used are ESP32/ESP8266 , ARDUINO,MQ SERIES GAS SENSOR(MQ-135 OR MQ-5) ,PM2.5 AND PM10 SENSORS,BATTERY PACK ,POWER ADAPTER, CHARGER SETUP,WEATHERPROOF HOUSING and  WiFi/BLUETOOTH MODULES. The software tools of this project working components which is used are ANDORID STUDIO, FIREBASE ,BLYNK APP,MATLAB ,PYTHON ,ARDUINO FRAMEWORK ,VS CODE FOR FIRMWARE CODING , THINGS SPEAK ,MQTT PROTOCOLS ,AWS IOT ,ADAFRUIT IO ,GITHUB , AUTHENTICATION MECHANISMS,GAFRANA ,EXCEL, HTTP/HTTPS and SENSOR AND WiFi LIBRARIES.

# CHAPTER#1 INTRODUCTION

# 1.1INTRODUCTION:

In an era, the integration of IOT environmental monitoring systems, particularly Air quality Index(AQI) systems, is crucial for public health and environmental protection. With Urbanization and industrial activities increasing, real-time, accurate air quality data is essential. IOT based AQI systems enable continuous monitoring of air pollutants, providing timely insights and prompt responses to deteriorating air conditions. IOT technology connects sensors to measure air pollutants like PM2.5, PM10, CO and NO2. Data is transferred to a central server for analysis and accessibility. This real-time monitoring helps mitigate poor air quality impacts, shapes policies and raises awareness about maintaining a healthy environment. It also plays a crucial role in shaping policies and raising awareness.

# CHAPTER#2 OBJECTIVES

# 2.1OBJECTIVES:

1: The study aims to analyze the effects of various air pollutants on public health and the environment, identifying key parameters for AQI measurement and monitoring.

2: The study aims to identify suitable sensors and technologies for accurately and reliably detecting pollutants like particulate matter, nitrogen dioxide, and ozone.

3: The project aims to create a robust IoT system that uses sensors, microcontrollers, and communication modules to measure and transmit real-time air quality data.

4: The study aims to enhance the accuracy, reliability, and efficiency of the AQI meter by comparing the performance of various sensor models and communication protocols.

5: The data is analyzed to generate AQI values, which are presented through a user-friendly web or mobile application, enabling real-time monitoring and alerts for users.

# CHAPTER#3 PROBLEM STATEMENT

# 3.1PROBLEM STATEMENT:

The primary issue with this project is its lengthy detection range, which prevents it from accurately displaying the city's air quality reading on the sensors. Urbanization and industrialization have led to a decline in air quality, posing health risks and environmental issues. A project aims to develop an IOT-based AQI system to monitor air pollutants in real-time enabling timely interventions and informed decision-making. The project aims to identify key pollutants, analyze their impact on health and the environment and develop a robust system for continuous monitoring. The solution’s business scope includes urban planning, public health management and industrial compliance with primary end-users being environmental agencies, local governments, industries and the general public.

# CHAPTER#4 LITERATURE REVIEW /  BACKGROUND

# 4.1LITERATURE REVIEW/BACKGROUND:

IOT-based Air Quality Index(AQI) systems are gaining popularity due to concerns over air pollution and its impact on public health and the environment. These systems use low-cost, portable sensors to provide real-time on pollutants like PM2.5 ,PM10,CO,SO2 AND NO2.These sensors are connected via IOT to a central server, which processes and analyzes the data. This approach enhances spatial and temporal resolution of air quality data and facilitates proactive environmental management by providing real-time alerts and insights. The integration of IOT in air quality data index(AQI) systems has the potential to revolutionize environmental monitoring by democratizing access to air quality data. Predictive data analytics powered by machine learning and cloud computing can improve system effectiveness, enabling early warning systems, informed decision making and public awareness. IOT-based AQI systems play a critical role in urban planning, public health management and industrial compliance, necessitating innovative solutions to combat air pollution.

Table 4.1:LITERATURE REVIEW OF AIR QUALITY INDEX

| STUDY | AUTHORS | YEAR | KEY FINDINGS |
| --- | --- | --- | --- |
| Deployment of Low-Cost Sensors | Kumar et al. | 2019 | The study showcased the efficacy of low-cost, IoT-based sensors in monitoring scalable air quality. |
| Predictive Analytics in AQI Systems | Smith and Lee | 2020 | The integration of machine learning for predictive analytics has been highlighted as a method to improve early warning systems. |
| Real-Time Data for Public Health | Johnson et al. | 2021 | The use of real-time, IoT-based air quality data has significantly enhanced public health responses. |
| Enhancing Environmental Awareness | Chen and Patel | 2022 | The article highlighted the significant role of IoT in enhancing public engagement and raising awareness about air quality issues. |

Table 4.2:LITERATURE REVIEW COMPARSION

| Ref # | Published year | Methodology | Results/ Findings | Parameters | Shortcomings/ Gaps |
| --- | --- | --- | --- | --- | --- |
| 1. | 2020 | IoT and ML-based smart system for garbage monitoring | Real-time AQI monitoring and fire detection are being implemented for dump yards and garbage management. | Temperature, moisture, light intensity | The application is restricted to garbage management and does not cover general air quality monitoring. |
| 2. | 2020 | IoT-based environmental quality control system | The method is effective in monitoring environmental pollutants. | Various air pollutants like CO2, SO2. | Large-scale deployments often face high costs and complexity. |
| 3. | 2020 | IoT framework for urban air quality control | The text focuses on efficient air quality management with solutions that are nearly zero. | O3, NOx, CO2. | Limited scalability; issues with sensor calibration. |
| 4. | 2020 | IoT-based indoor air quality control system | The system allows for real-time monitoring and control of indoor air quality. | CO2, VOCs | Indoor only; does not address outdoor air quality monitoring |
| Proposed System | 2021 | IoT-based system with Arduino and various sensors | The system monitors various pollutants like O3, SO2, CO, and particulate matter, providing data through a cloud-based interface. | O3, SO2, CO, particulate matter. | The deployment is limited and requires further testing for large-scale outdoor environments and long-term data accuracy. |
| 1. | 2018 | IoT-based pollution monitoring | The system is continuously monitoring pollution levels through the use of multiple sensors. | CO, particulate matter, smoke. | Limited to predefined areas; lacks user interaction via mobile apps |
| 2. | 2018 | Edge computing-based IoT architecture | The proposed solution aims to reduce cloud dependency by utilizing low-cost monitoring methods and local data processing. | CO, NOx, VOCs | The edge computing setup is highly complex and not easily scalable. |
| 3. | 2018 | IoT-enabled air pollution monitoring and awareness. | Tracks pollutants and raises public awareness through displays and notifications | CO, NH3, particulate matter, smoke | Limited user customization; lacks predictive analytics for future air quality trends |
| Proposed System | 2023 | IoT-enabled air pollution meter with smartphone dashboard | The mobile app offers real-time data and alerts on air quality, including AQI calculations. | CO, NH3, particulate matter, smoke. | The system requires constant internet connection for real-time updates and is restricted to areas with smartphone accessibility. The system requires constant internet connection for real-time updates and is restricted to areas with smartphone accessibility. |
| 1. | 2020 | IoT-based smart environment monitoring | Detects pollutants like CO, smoke, gas; uses LCD for display. | CO, smoke, gas | Data retrieval limited to every 8 hours; no IoT integration. |
| 2. | 2008 | Environment-al air pollution monitoring with IEEE 1451. | Monitors CO, NO2, SO2, O3 using semiconductor sensors | CO, NO2, SO2, O3 | The process necessitates calibration for various gases prior to each measurement |
| 3. | 2018 | Centralized air pollution detection and monitoring | Uses microcontroller and WiFi module; supports various gas sensing methods | Multiple pollutants (method dependent) | Lacks specific IoT feature integration; manual data evaluation. |
| Proposed System | 2022 | Real-time indoor/outdoor monitoring with IoT | Uses ESP32, MQ135, DHT22; displays data via BLYNK app | CO2, temperature, humidity | Limited range due to WiFi module; performance dependent on stable network connection. |

Table 4.3:COMPARSION OF PROPOSED SYSTEM WITH EXISTING SYSTEM

| Functionality | Proposed System | Existing System |  |  |
| --- | --- | --- | --- | --- |
|  | Name | System name 1 | System name 2 | System name 3 |
| Real-time monitoring | Yes | Yes | No | Yes |
| Data Accuracy | High | Medium | Low | Medium |
| Ease of use | Yes | No | Yes | No |
| Security | Yes | No | Yes | No |
| Alerts and Notification | Multiple Sensors Supported | Single Sensor | Single Sensor | Multiple Sensors Supported |
| Historical Data Analysis | Yes | No | No | Yes |
| Cost Efficiency | Moderate | High | Medium | Low |
| Scalability | High | Low | Medium | High |
| Maintenance Requirements | Low | High | Medium | Low |

# CHAPTER#5 FUNCTIONAL REQUIREMENTS

# 5.1FUNCTIONAL REQUIREMENTS:

For an IoT-based Air Quality Index (AQI) meter, the functional requirements are:

# 5.1.1SENSOR INTEGRATION:

The system should integrate with sensors capable of measuring pollutants like PM2.5, PM10, NO2, and O3, providing accurate, reliable readings within specified ranges and tolerances.

# 5.1.2 DATA ACQUISITION AND PROCESSING:

The system should regularly gather air quality data from sensors at predetermined intervals, which must be processed using standardized algorithms to calculate the AQI.

# 5.1.3 DATA TRANSMISSION:

The system must efficiently transmit processed AQI data to a cloud-based server using appropriate communication protocols like MQTT or HTTP, ensuring minimal latency and reliable delivery.

# 5.1.4 CLOUD INTEGRATION:

The system should securely store and manage data on a cloud platform for long-term storage and historical analysis, while also providing data visualization and reporting features.

# 5.1.5 USER INTERFACE:

Create an intuitive web or mobile application that allows users to access real-time air quality information, historical trends, and receive notifications or alerts.

# 5.1.6 ALERTS AND NOTIFICATIONS:

Implement a notification system to notify users when air quality reaches predefined thresholds or when critical conditions are detected.

# 5.1.7 CALIBRATION AND MAINTENANCE:

The system should incorporate features for calibrating sensors and conducting regular maintenance to ensure continuous accuracy and performance.

# 5.1.8 POWER MANAGEMENT:

The system should be optimized for energy efficiency, considering power consumption and potential battery life, if applicable.

# 5.1.9 SECURITY:

The goal is to ensure data security through encryption and secure authentication methods for data transmission and user access.

# 5.1.10 SCALABILITY:

The system should be adaptable to accommodate additional sensors or expand deployment scenarios as required.

# CHAPTER#6 NON-FUNCTIONAL REQUIREMENTS

# 6.1NON-FUNCTIONAL REQUIREMENTS:

For an IoT-based Air Quality Index (AQI) meter, the non-functional requirements are:

# 6.1.1 PERFORMANCE:

The system must efficiently process and display real-time air quality data with minimal latency, ensuring smooth operation even under high load.

# 6.1.2 RELIABILITY:

The system should be operational 24/7 with minimal downtime and capable of recovering from hardware or software failures without significant data loss or service interruption.

# 6.1.3 SCALABILITY:

The system must efficiently handle growing data volumes and user loads, ensuring smooth performance for a growing number of users accessing data simultaneously.

# 6.1.4 USABILITY:

The user interface should be user-friendly and accessible to all technical expertise levels, while clear documentation, including setup instructions, user guides, and troubleshooting tips, should be provided.

# 6.1.5 SECURITY:

Encrypt data during transmission and at rest to prevent unauthorized access. Implement secure authentication mechanisms for user access and authorization controls to manage roles and permissions.

# 6.1.6 MAINTAINABILITY:

The system should be developed with clean, well-documented code for easy updates and maintenance, and robust error handling and logging mechanisms for troubleshooting and fixing.

# 6.1.7 COMPATIBILITY:

The web interface or mobile application should be compatible with various sensor models and communication protocols, ensuring seamless cross-platform support.

# 6.1.8 COST EFFICIENCY:

The system should be designed to be cost-effective in terms of hardware, software, and operational expenses, while minimizing ongoing operational costs like power consumption and maintenance.

# 6.1.9 ENVIRONMENTAL CONSIDERATIONS:

The hardware components should be durable and capable of functioning in various environmental conditions, such as temperature extremes and humidity.

# 6.1.10 REGULATORY AND COMPLIANCE:

The system must adhere to the necessary standards and regulations for environmental monitoring and data protection.

# CHAPTER#7 USE CASES OF AQI METER

# 7.1 USE CASES OF AQI METER:

Here are some use cases for an IoT-based Air Quality Index (AQI) meter are:

# 7.1.1 URBAN AIR QUALITY MONITORING:

# 7.1.1.1ACTORS:

City officials, Environmental agencies.

# 7.1.1.2 DESCRIPTION:

The AQI meter is utilized by city officials to monitor air quality in various urban areas, aiding in pollution assessment, identifying high-risk zones, and implementing emission reduction policies.

# 7.1.2 PUBLIC HEALTH ALERTS:

# 7.1.2.1 ACTORS:

Health organizations, General public.

# 7.1.2.2 DESCRIPTION:

Health organizations utilize AQI meters to provide real-time air quality updates, aiding informed outdoor activities, particularly for those with respiratory conditions.

# 7.1.3 INDUSTRIAL COMPLIANCE MONITORING:

# 7.1.3.1 ACTORS:

Industrial managers, Environmental regulators.

# 7.1.3.2 DESCRIPTION:

AQI meters are utilized by industries to monitor emissions, ensure environmental compliance, generate reports for regulatory agencies, and make necessary adjustments to reduce pollutants.

# 7.1.4 EDUCATIONAL PURPOSE:

# 7.1.4.1 ACTORS:

Schools, Students, Researchers.

# 7.1.4.2 DESCRIPTION:

AQI meters are utilized by educational institutions for environmental science research projects, allowing students and researchers to analyze air quality data to understand its health and environmental impact.

# 7.1.5 SMART CITY INTEGRATION:

# 7.1.5.1 ACTORS:

Smart city planners, IoT developers.

# 7.1.5.2 DESCRIPTION:

The AQI meter integrates into smart city infrastructure for comprehensive environmental monitoring, enhancing urban management and sustainability efforts by combining data with other sensors like weather stations.

# 7.1.6 RESIDENTIAL AIR QUALITY MONITORING:

# 7.1.6.1 ACTORS:

Tourists, Travel agencies.

# 7.1.6.2 DESCRIPTION:

Travel agencies offer air quality information to tourists, aiding them in selecting destinations with better air quality, especially for those with health concerns or those avoiding high pollution areas.

# 7.1.7 TRAVEL AND TOURISM:

# 7.1.7.1 ACTORS:

Tourists, Travel agencies

# 7.1.7.2 DESCRIPTION:

Travel agencies provide air quality information to tourists, helping them choose destinations with better air quality. This is particularly useful for travelers with health concerns or those looking to avoid high pollution areas.

# 7.1.8 EMERGENCY RESPONSE:

# 7.1.8.1 ACTORS:

Emergency responders, Local authorities.

# 7.1.8.2 DESCRIPTION:

The AQI meter provides crucial data to emergency responders during natural disasters or industrial accidents, aiding in situation assessment, warnings, and effective coordination of response efforts.

# CHAPTER#8 PROPOSED DESIGN METHODOLOGY/FRAMEWORK /ARCHITECTURE

# 8.1PROPOSED DESIGN METHODOLOGY/FRAMEWORK /ARCHITECTURE:

First, we discuss the proposed design methodology, after we discuss framework and after that we discuss the architecture of air quality index meter.

# 8.1.1 PROPOSED DESIGN METHODOLOGY:

# 8.1.1.1 REQUIREMENTS ANALYSIS:

The AQI meter's objectives, functional and non-functional requirements, key pollutants to measure (e.g., PM2.5, PM10, NO2, O3), and user needs, including data accessibility and interface requirements, are crucial.

# 8.1.1.2 SYSTEM DESGIN:

The process involves designing hardware components like sensors, microcontrollers, and communication modules, and planning the software architecture, which includes data acquisition, processing, transmission, and storage.

# 8.1.1.3 DEVELOPMENT:

# 8.1.1.3.1 HARDWARE DEVELOPMENT:

The sensors and microcontroller should be assembled with suitable power management and protective casing.

# 8.1.1.3.2 FIRMWARE UPDATE:

Develop firmware for data collection, processing, and communication using a development environment like VS Code or Arduino IDE.

# 8.1.1.3.3 CLOUD PLATFORM SETUP:

Implement a cloud service like AWS IoT or Azure IoT Hub for data storage, processing, and visualization.

# 8.1.1.4 INTEGRATION AND TESTING:

The process involves integrating hardware and software components, conducting functional testing to ensure system compliance, and conducting performance testing under various environmental conditions to validate reliability and accuracy.

# 8.1.1.5 DEPLOYMENT:

The AQI meters will be installed in specific locations, including urban, industrial, and residential areas, and a cloud-based monitoring platform will be set up to ensure real-time data availability.

# 8.1.1.6 MAINTENANCE AND UPDATES:

Implement a maintenance schedule for sensor calibration and firmware updates, continuously monitor system performance, and continuously make iterative improvements.

# 8.1.2 PROPOSED FRAMEWORK:

# 8.1.2.1 DATA ACQUISITION LAYER:

# 8.1.2.1.1 COMPONENTS:

The air quality sensors, including PM2.5, PM10, NO2, and O3, are essential for monitoring and assessing air quality.

# 8.1.2.1.2 FUNCTION:

The process involves gathering raw data on environmental air pollutants.

# 8.1.2.2 PROCESSING LAYER:

# 8.1.2.2.1 COMPONENTS:

A microcontroller, such as the ESP32.

# 8.1.2.2.2 FUNCTION:

The process involves processing sensor data to calculate AQI values using predefined algorithms and data filtering techniques.

# 8.1.2.3 COMMUNICATION LAYER:

# 8.1.2.3.1 COMPONENTS:

The Wi-Fi or cellular communication module is a crucial component in various applications.

# 8.1.2.3.2 FUNCTION:

The process involves transmitting processed AQI data to the cloud platform using protocols such as MQTT or HTTP.

# 8.1.2.4 CLOUD LAYER:

# 8.1.2.4.1 COMPONENTS:

The cloud server includes AWS IoT, Azure, and Google Cloud.

# 8.1.2.4.2 FUNCTION:

The system manages, stores, and processes data, offering visualization, historical analysis, and alerts for efficient data management.

# 8.1.2.5 APPLICATION LAYER:

# 8.1.2.5.1 COMPONENTS:

The web interface and mobile application are both essential tools for various applications.

# 8.1.2.5.2 FUNCTION:

The system offers a user-friendly interface for accessing real-time and historical AQI data, notifications, and reports.

# 8.1.3 PROPOSED ARCHITECTURE:

The proposed architecture of the IOT-based air quality index meter is shown.

Figure 8.1.1:PROPOSED ARCHITECTURE OF IOT-BASED AIR QUALITY INDEX METER

# 8.1.4 KEY FEATURES  OF THE ARCHITECTURE:

# 8.1.4.1 MODULAR DESIGN:

The system's scalability and maintenance are made easy due to the independent operation of each layer.

# 8.1.4.2 REAL-TIME DATA PROCESSING:

The project involves the immediate collection and processing of data for real-time AQI monitoring.

# 8.1.4.3 SCALABILITY:

The device is designed to accommodate additional sensors or expand deployments as required.

# 8.1.4.4 SECURITY MEASURE:

Data encryption and secure authentication mechanisms to protect data integrity and privacy.

# 8.1.4.5 USER ACCESSIBILITY:

The data can be accessed via a web interface or mobile app, providing options for notifications and alerts.

# CHAPTER#9 ABSTRACT DESIGN

# 9.1ABSTRACT DESIGN:

The IoT-based AQI meter monitors and reports real-time air quality by measuring pollutants and calculating the AQI, providing accessible, actionable information to users via a cloud platform and user interface.

# 9.2 KEY COMPONENTS:

# 9.2.1 SENSORS:

The device measures pollutants like PM2.5, PM10, NO2, and O3, and integrates sensors with a microcontroller for data acquisition.

Figure 9.2.2:PM2.5,PM10,NO2 AND O3

# 9.2.2 MICROCONTROLLER UNIT(MCU):

The ESP32 or Arduino microcontroller serves as the central processing unit for the system, handling sensor data acquisition, preliminary processing, and communication.

Figure 9.2.3:MICROCONTOLLER UNIT(ESP32 AND ARDUINO)

# 9.2.2.1 RESPONSIBILITES:

The process involves reading sensor data, calculating AQI values using standardized algorithms, managing power, and interfacing with the communication module.

# 9.2.3 COMMUNICATION MODULE:

The device uses Wi-Fi or Ethernet for data transmission from a microcontroller to a cloud-based platform, depending on the deployment environment.

# 9.2.4 CLOUD PLATFORM:

The purpose is to establish a central data storage, processing, and analysis hub using cloud servers like AWS IoT, Azure IoT Hub, and Google Cloud IoT.

Figure 9.2.4:CLOUD PLATOFRM(AWS IOT,AZURE IOT HUB AND GOOGLE CLOUD IOT)

# 9.2.4.1 FUNCTIONS:

The system collects and stores data from AQI meters, processes it for insights and reports, and offers APIs for data access and integration with external applications.

# 9.2.5 USER INTERFACE:

The purpose of this web-based dashboard, mobile application, or both is to provide users with real-time and historical AQI data in an intuitive format.

# 9.2.5.1 FEATURES:

The application provides visual representations of air quality trends, alerts and notifications for critical levels, and user-friendly settings for customization of alerts and data views.

# 9.3 DATA FLOW:

# 9.3.1 DATA COLLECTION:

Sensors detect air pollutants and transmit raw data to a microcontroller.

# 9.3.2 PROCESSING:

The microcontroller uses raw data to calculate AQI values.

# 9.3.3 TRANSMISSION:

The microcontroller sends processed data to the cloud platform via the communication module.

# 9.3.4 CLOUD PROCESSING:

The cloud platform stores data, performs further analysis, and prepares it for visualization.

# 9.3.5 USER ACCESS:

The AQI data is accessible to users via a web dashboard or mobile app, enabling real-time monitoring of air quality and historical trends review.

# 9.4 DESIGN PRINCIPLES:

# 9.4.1 MODULARITY:

The components function independently, enabling easy upgrades or replacements.

# 9.4.2 SCALABILITY:

The design allows for the scaling of AQI meters from a single device to a network of multiple devices deployed across large areas.

# 9.4.3 SECURITY:

The system incorporates data encryption and secure communication protocols to ensure data integrity and privacy.

# 9.4.4 RELIABILITY:

The system ensures continuous operation through failover mechanisms and regular maintenance protocols for sensors and connectivity.

# CHAPTER#10 COMPONENT-LEVEL DESIGN

# 10.1COMPONENT-LEVEL DESIGN:

The project involves designing sensor modules, microcontrollers and communication interfaces. Sensors will be chosen based on accuracy, range and reliability. The microcontroller unit will handle data acquisition, processing and transmission. Communication interfaces will facilitate seamless data transfer between sensor nodes and the cloud platform. Power management strategies will be incorporated for long-term operation.

# 10.2 SENSORS:

# 10.2.1 COMPONENTS:

1:PARTICULATE  MATTER SENSORS(PM2.5,PM10).

Figure 10.2.5:PM2.5 AND PM10

2:GAS SENSORS SUCH AS MQ-135(FOR CO2,NH3) AND MQ-5 (FOR H2, LPG, CH4, CO, Alcohol.)

Figure 10.2.6:GAS SENSORS(MQ-5 AND MQ-135)

# 10.3 MIRCOCONTOLLER UNIT(MCU):

# 10.3.1 COMPONENTS:

ESP32 AND ARDUINO

Figure 10.3.7:ESP32 AND ARDUNIO

# 10.3.2 RESPONSIBILITES:

# 10.3.2.1 DATA ACQUSITION:

The device reads sensor data at regular intervals.

# 10.3.2.2 DATA PROCESSING:

The process involves filtering and processing raw sensor data, applying calibration factors, and computing AQI values using predefined algorithms.

# 10.3.2.3 POWER MANAGEMENT:

The task involves managing the power supply to sensors, particularly those running on batteries, to conserve energy.

# 10.3.2.4 ERROR HANDLING:

The task involves the implementation of error-checking routines and sensor calibration checks.

# 10.3.3 INTERFACE:

The device connects to sensors via I2C, SPI, or analog input pins and communicates with the communication module via UART or Wi-Fi interface.

# 10.4 COMMUNICATION MODULE:

# 10.4.1 COMPONENTS:

ESP32 AND ESP8266 Wi-Fi MODULES.

Figure 10.4.8:Wi-Fi MODULES OF ESP32/ESP8266

# 10.4.2 RESPONSIBILITES:

The system manages data transmission and connectivity, sending processed AQI data to the cloud platform using protocols like MQTT, HTTP, or HTTPS.

Figure 10.4.9:RESPONSIBILIES OF COMMUNICATION MODULE

# 10.4.3 INTERFACE:

The device communicates with the MCU through either UART or SPI interface.

# 10.5 POWER SUPPLY:

# 10.5.1 COMPONENTS:

The system features a lithium-ion battery with a suitable capacity for its operational time, and a Power Management IC for charging, power regulation, and low-power operation.

Figure 10.5.10:LITHUIM-ION BATTEY AND POWER MANAGEMENT

# 10.5.2 RESPONSIBILITES:

Power regulation ensures stable supply to sensors and MCU, while battery monitoring monitors battery level and sends alerts for low power.

# 10.5.3 INTERFACE:

The device connects directly to the MCU and sensors, possibly via a voltage regulator.

# 10.6 CLOUD PLATFORM:

# 10.6.1 COMPONENT:

The IoT Cloud Service options include AWS IoT Core, Azure IoT Hub, and Google Cloud IoT. Time-Series database like EXECL.

Figure 10.6.11:AWS IOT CORE,AZURE IOT HUB AND GOOGLE CLOUD IOT

Figure 10.6.12:EXCEL

# 10.6.2 RESPONSIBILITES:

The system receives data from AQI meters via secure APIs, stores it for long-term analysis and trend visualization, processes it to compute AQI trends, and provides APIs for external applications to access the data.

# 10.6.3 INTERFACE:

The system receives data from communication modules using internet protocols such as HTTP/MQTT.

Figure 10.6.13:MQTT AND HTTP INTERFACE OF CLOUD PLATFORM

# 10.7 USER INTERFACE:

# 10.7.1 COMPONENT:

Web applications are developed using HTML, CSS, JavaScript, and frameworks like React or Angular, while mobile applications are developed using cross-platform tools like Blynk or native platforms like Android and iOS.

Figure 10.7.14:WEB APPLICATIONS AND MOBILE APPLICATIONS OF USER INTERFACE

# 10.7.2 RESPONSIBILTES:

The application offers real-time and historical air quality (AQI) data visualization, user alerts for critical levels, and user settings for setting thresholds and viewing settings.

# 10.7.3 INTERFACE:

The system connects to the cloud platform through REST APIs or WebSocket for real-time data updates.

# 10.8 ENCLOSURE AND ENVIRONMENTAL PROTECTION:

# 10.8.1 COMPONENT:

The enclosure is a weatherproof housing designed to safeguard sensors and electronics from environmental influences.

# 10.8.2 RESPONSIBILITES:

The device provides protection against rain, dust, and UV exposure, while also ensuring adequate airflow for accurate sensor readings.

# 10.9 DATA FLOW:

Sensors collect environmental data and send it to an MCU for processing, calculating AQI, and formatting. The data is then transmitted to the cloud, where it is stored, processed, and visualized for users via web or mobile apps, with alerts sent if AQI thresholds are crossed.

# CHAPTER#11 SYSTEM REQUIREMENTS SPECIFICATIONS(SRS)

# 11.1SYSTEM REQUIREMENTS SPECIFICATIONS (SRS):

The SRS document will outline the functional and non-functional requirements of an air quality index meter, covering accurate pollutant measurement, real-time data transmission and user alerts. It will also cover performances metrics. The SRS will guide development and testing to ensure the system meets all standards and user expectations.

# 11.2 PURPOSE:

The SRS document outlines the functional and non-functional requirements for an IoT-based Air Quality Index (AQI) meter, aiming to accurately measure air pollutants, provide real-time data transmission, and generate user alerts.

# 11.3 SCOPE:

The AQI meter measures pollutants like PM2.5, PM10, NO2, CO, and O3, calculates AQI values, and transmits data to a cloud platform for real-time monitoring and user alerts.

# 11.4 INTENDED AUDIENCE:

This document is designed for developers, testers, project managers, and stakeholders involved in the design, development, and deployment of the AQI meter system.

# 11.5 DEFINITIONS,ACRONYMS AND ABBREVATION:

1: Air Quality Index (AQI)

2:MICROCONTROLLER UNIT(MCU)

3:PARTICULATE MATTER 2.5 AND 10(PM2.5 AND PM10)

4:NITROGEN DIOXIDE(NO2)

5:CARBON MONOXIDE(CO)

6:OZONE(O3)

7:SYSTEM REQUIREMENTS SPECIFICATIONS (SRS)

# 11.6 FUNCTIONAL REQUIREMENTS:

# 11.6.1ACCURATE POLLUTANT MEASUREMENT FR1:

The system will use sensors to measure PM2.5, PM10, NO2, CO, and O3, calibrating them to within ±5% of actual pollutant concentrations.

# 11.6.2 REAL-TIME AQI CALCULATION FR2:

The system will generate real-time AQI values using the provided formula, based on pollutant concentration data.

# 11.6.3 DATA TRANSMISSION FR3:

The system will transmit AQI data to a cloud platform using Wi-Fi, cellular ensuring data integrity and security during transmission.

# 11.6.4 DATA STORAGE AND VISUALIZATION FR4:

The cloud platform will store AQI data for historical analysis and offer real-time data visualization via web and mobile applications.

# 11.6.5 USER ALERT AND NOTIFICATIONS FR5:

The system will notify users when AQI levels surpass health safety thresholds, allowing users to customize alert preferences like SMS, email, or in-app notifications.

# 11.6.6 SYSTEM CONFIGURATION AND MANAGEMENT FR6:

The system will enable remote configuration and firmware updates via a cloud platform.

# 11.7 NON-FUNCTIONAL REQIUREMENTS:

# 11.7.1 PERFORMANCE NFR1:

The system must process and transmit AQI data within 10 seconds of data collection and can handle a minimum of 1000 concurrent devices transmitting data to the cloud.

# 11.7.2 RELIABILITY NFR2:

The system is expected to maintain a 99.5% data uptime, ensuring continuous monitoring and data availability.

# 11.7.3 SCALABILITY NFR3:

The system will enable the integration of new sensors and devices without requiring significant reconfiguration.

# 11.7.4 SECURITY NFR4:

The system is required to securely encrypt all data transmitted between AQI meters and the cloud platform, ensuring user access and authentication.

# 11.7.5 USABILITY NFR5:

The system should be user-friendly, visually appealing, and accessible to all users, including those with disabilities.

# 11.7.6 MAINTAINABILITY NFR6:

The system should enable modular updates, enabling the upgrading of individual components like sensors and communication modules without causing full system downtime.

# 11.8 PERFORMANCE METRICS:

# 11.8.1 ACCURACY:

AQI measurements should achieve a 95% accuracy rate when compared to standard reference methods.

# 11.8.2 LATENCY:

The maximum end-to-end latency from data collection to user notification should not exceed 15 seconds.

# 11.8.3 UPTIME:

The system should ensure an operational uptime of 99.5% or higher.

# 11.8.4 SCALABILITY:

The system should be capable of supporting up to 10,000 devices without any performance degradation.

# 11.9 EQUATIONS FOR AQI CALCUALTION:

The system will utilize specific equations to determine AQI values based on pollutant concentrations.

Equation 11.9.1:GENERAL AQI CALCULATION FORMULA

AQI=[(PMobs-PMmin)*(AQImax-AQImin)(PMmax-PMmin) ]+AQImin

Where:

- PMobs​ = Observed pollutant concentration

- PMmin, PMmax = Breakpoints for the observed concentration

- AQImin, AQImax ​ = AQI breakpoints corresponding to PMmin, PMmax

Equation 11.9.2:AQI CALCULATIONS BASED ON SPECIFIC POLLUTANT CONCENTRATIONS

AQI=(Ci-ClowChigh-Clow)*Ihigh-Ilow+Ilow

Where:

- Ci = Concentration of the pollutant

- Clow,Chigh = Concentration breakpoints

- Ilow,Ihigh = AQI values corresponding to Clow,Chigh

# 11.10 FIGURES OF SPECIFIC REQUIREMENTS SPECIFICATIONS (SRS):

Figure 11.10.15:BLOCK DIAGRAM OF IOT-BASED AQI METER

Figure 11.10.16:PROJECT DIAGRAM OF IOT-BASED AQI METER

# CHAPTER#12 HARDWARE/SOFTWARE TOOLS

# 12.1 HARDWARE/SOFTWARE TOOLS:

# 12.1.1 HARDWARE TOOLS:

1:ESP32/ESP8266

2:ARDUINO

3:MQ SERIES GAS SENSOR(MQ-135 OR MQ-5)

4:PM2.5 AND PM10 SENSORS

5: BATTERY PACK

6: POWER ADAPTER

7: CHARGER SETUP

8: WEATHERPROOF HOUSING

9: WiFi/BLUETOOTH MODULES

10:BREADBOARD AND CONNECTING WIRES

# 12.1.2 SOFTWARE TOOLS:

1: ANDORID STUDIO

2: FIREBASE

3:BLYNK APP

4:MATLAB

5:PYTHON

6: ARDUINO  FRAMEWORK AND ECLIPSE IDE

7:VS CODE FOR FIRMWARE CODING

8: THINGS SPEAK

9:MQTT PROTOCOLS

10: AWS IOT

11:ADAFRUIT IO

12:GITHUB

13: AUTHENTICATION MECHANISMS

14: GAFRANA

15:EXCEL

16:HTTP/HTTPS

17:SENSOR AND WiFi LIBRARIES

# 12.2 DECIDED TO CHOOSE MENTIONED TOOLS:

# 12.2.1 HARDWARE TOOLS:

1: Is decided to choose the ESP32/ESP8266 because the microcontrollers with integrated WiFi and Bluetooth are ideal for IoT applications due to their connectivity and processing power.

Figure 12.2.17:ESP32/ESP8266

2:Is decided to choose the ARDUINO/ESP because of this is a user-friendly microcontroller board designed for prototyping and sensor interfacing.

Figure 12.2.18:ARDUINO

3: Is decided to choose the MQ SERIES GAS SENSOR(MQ-135 OR MQ-5) because the sensors are essential for detecting various gases and are crucial for measuring air quality.

Figure 12.2.19:MQ-135 AND MQ-5

4:Is decided to choose the PM2.5 AND PM10 SENSORS because of the purpose of this text is to provide a concise summary on the measurement of particulate matter in the air for the purpose of air quality monitoring.

Figure 12.2.20:OM2.5 AND PM10

5:Is decided to choose the BATTERY PACK because of supplies power to the device, allowing for both portable and stationary setups.

Figure 12.2.21:BATTARY PACK

6:Is decided to choose the POWER ADAPTER because of supplies power to the device, allowing for both portable and stationary setups.

Figure 12.2.22:POWER ADAPTER

7: Is decided to choose the CHARGING SETUP because of the proposed charging setup for an IoT-based AQI meter enhances performance, reduces maintenance, and ensures reliable, sustainable, and efficient power management, making it suitable for long-term deployment.

Figure 12.2.23:CHARGING SETUP

8:This decided to choose the WEATHERPROOF HOUSING  because of this product safeguards electronic devices from harmful environmental conditions, ensuring their durability in outdoor environments.

Figure 12.2.24:WEATHERPROOF HOUSING

9:Is decided to choose the WiFi/BLUETOOTH MODULES because of the device facilitates wireless communication between it and other systems.

Figure 12.2.25:Wi-FI/BLUETOOTH MODULES

# 12.2.2 SOFTWAE TOOLS:

1: Is decided to choose the ANDORID STUDIO because the platform is designed to develop mobile applications that can interact with the AQI meter.

Figure 12.2.26:ANDROID STUDIO

2: Is decided to choose the FIREBASE because of provides real-time database and authentication services for managing IoT data and user interactions.

Figure 12.2.27:FIREBASE

3: Is decided to choose the BLYNK APP because of the feature facilitates the creation of IoT interfaces and dashboards on mobile devices with ease.

4: Is decided to choose the MATLAB because of this tool is utilized for advanced data analysis and visualization.

Figure 12.2.28:MATLAB

5: Is decided to choose the PYTHON because of the language is versatile and suitable for scripting, data processing, and API integration.

Figure 12.2.29:PYTHON

6: Is decided to choose the ARDUINO  FRAMEWORK because of the Arduino framework provides a standardized programming environment, simplifying development and ensuring hardware compatibility, and is widely used, well-documented, and easy to find resources and community support.

Figure 12.2.30:ARDUINO FRAMEWORK

7: Is decided to choose the VS CODE FOR FIRMWARE CODING because Arduino and VS Code are used for ESP32 development, offering flexibility and access to various libraries, enhancing the development process.

Figure 12.2.31:VISUAL STUDIO CODE FIRMWAE CODING

8:Is decided to choose the THINGS SPEAK because the cloud platform is designed for storing and visualizing IoT data.

Figure 12.2.32:THING SPEAK

9:Is decided to choose the MQTT PROTOCOLS because of the lightweight messaging protocol is designed for efficient IoT communication.

Figure 12.2.33:MQTT

10:Is decided to choose the AWS IOT because the company offers comprehensive cloud services for managing and processing data related to IoT devices.

Figure 12.2.34:AWS IOT

11: Is decided to choose the ADAFRUIT IO because of the cloud service is designed for effectively managing and visualizing IoT data.

Figure 12.2.35:ARAFRUIT IO

12: Is decided to choose the GITHUB  because of the platform is designed for version control and collaboration in code development.

Figure 12.2.36:GITHUB

13: Is decided to choose the AUTHENTICATION MECHANISMS because of the goal is to ensure secure access and communication within the IoT system.

Figure 12.2.37:AUTHENTICATION MECHANISMS

14: Is decided to choose the GAFRANA because of this is an advanced tool designed for creating interactive data visualizations and dashboards.

Figure 12.2.38:GAFRANA

15: Is decided to choose the EXCEL because of this is a tool designed for the systematic organization and analysis of data.

Figure 12.2.39:EXCEL

16: Is decided to choose the HTTP/HTTPS  because of this refers to the protocols that ensure secure communication between devices and servers.

Figure 12.2.40:HTTP AND HTTPS

17: Is decided to choose the SENSOR AND WiFi LIBRARIES because of the task involves creating code and functions for integrating sensors and managing WiFi communication.

Figure 12.2.41:SENSOR AND Wi-Fi LIBRARIES

# CHAPTER#13 SUSTAINABLE DEVELOPMENT GOALS(SDGs)

# 13.1 SUSTAINABLE DEVELOPMENT GOALS (SDGs):

The IoT-based Air Quality Index (AQI) meter aids in achieving Sustainable Development Goals (SDGs) by providing real-time monitoring, raising pollution awareness, and encouraging actions to improve air quality, aligning with specific SDG objectives.

# 13.2 SDG 3 GOOD HEALTH AND WELL-BEING:

# 13.2.1 TARGET 3.9:

The goal is to significantly decrease deaths and illnesses caused by hazardous chemicals, air, water, and soil pollution and contamination by 2030.

# 13.2.2 CONTRIBUTION:

The AQI meter provides real-time air quality data, aiding in preventive measures to reduce harmful pollutants, improving public health and reducing respiratory and cardiovascular diseases.

Figure 13.2.42:SDG 3:GOOD HEALTH AND WELL-BEING

# 13.3 SDG 11:SUSTAINABLE CITIES AND COMMUNITIES:

# 13.3.1TARGET 11.6:

By 2030, cities' environmental impact should be minimized by focusing on air quality and waste management.

# 13.3.2 CONTRIBUTION:

The AQI meter aids in sustainable urban planning by providing data-driven air quality insights, enabling policymakers to implement measures to reduce pollution and enhance urban livability.

Figure 13.3.43:SDG 11:SUSTAINABLE CITIES AND COMMUNITIES

# 13.4 SDG 13:CLIMATE ACTION:

# 13.4.1 TARGET 13.2:

The goal is to integrate climate change measures into national policies, strategies, and planning.

# 13.4.2 CONTRIBUTION:

The AQI meter monitors climate change pollutants like carbon monoxide and ozone, providing valuable data for policy-making to reduce emissions and mitigate climate impacts.

Figure 13.4.44:SDG 13 CLIMATE ACTION

# 13.5 SDG 9:INDUSTRY,INNOVATION AND INFRASTRUCTURE:

# 13.5.1 TARGET 9.4:

By 2030, the goal is to enhance infrastructure and retrofit industries to promote sustainability, focusing on increased resource efficiency and the adoption of clean and environmentally sound technologies.

# 13.5.2 CONTRIBUTION:

The AQI meter utilizes IoT and cloud technologies for innovative environmental monitoring, promoting smart technologies for improved infrastructure efficiency and reduced environmental impact.

Figure 13.5.45:SDG 9:INDUSTRY,INNOVATION AND INFRASTRUCTURE

# 13.6 SDG 15:LIFE ON LAND:

# 13.6.1 TARGET 15.1:

The goal is to preserve, restore, and sustainably utilize freshwater ecosystems, including forests, wetlands, mountains, and drylands, in accordance with international agreements.

# 13.6.2 CONTRIBUTION:

The AQI meter monitors environmental impact on land and supports actions to protect biodiversity and ecosystems from air pollution by providing data on pollutants affecting terrestrial ecosystems.

Figure 13.6.46:SDG 15 LIFE ON LAND

# 13.7 SDG 7:AFFORDABLE AND CLEAN ENERGY:

# 13.7.1 TARGET 7.3:

The goal is to double the global rate of improvement in energy efficiency by 2030.

# 13.7.2 CONTRIBUTION:

The AQI meter can be integrated into smart city solutions to enhance energy efficiency by adjusting HVAC systems based on air quality data, thereby optimizing urban energy use.

Figure 13.7.47:SDG 7 AFFORDABLE AND CLEAN ENERGY

# 13.8 SDG 12:RESPONSIBLE CONSUMPTION AND PRODUCTION:

# 13.8.1 TARGET 12.4:

By 2020, the goal is to effectively manage chemicals and wastes throughout their life cycle, adhering to international standards, and significantly reducing their release into the environment to minimize their harmful effects on human health and the environment.

# 13.8.2 CONTRIBUTION:

The AQI meter aids in efficient air quality management by providing precise pollutant data, enabling responsible actions to decrease emissions from both industrial and urban sources.

Figure 13.8.48:SDG 12 RESPONSIBLE CONSUMPTION AND PRODUCTION

# CHAPTER#14 ANDROID STUDIO

# 14.1 ANDROID STUDIO:

Android Studio is an excellent tool for developing a mobile application for an IoT-based Air Quality Index (AQI) Meter project, providing a theoretical overview of its usage.

# 14.2 ANDROID STUDIO FOR IOT-BASED AIR QUALITY INDEX METER:

# 14.2.1 INTRODUCTION:

The project aims to create a mobile application that integrates with an IoT-based AQI Meter, displaying real-time air quality data for environmental monitoring. The platform, Android Studio, is used for its powerful tools, real-time previews, and integrated libraries.

# 14.3 SYSTEM ARCHITECTURE:

# 14.3.1 COMPONENTS:

The IoT device uses an ESP32 microcontroller with air quality sensors to measure pollutants like CO2, PM2.5,PM10, temperature, and humidity. It communicates with a mobile app via WiFi using HTTP, MQTT, or WebSocket protocols. The app, developed in Android Studio, displays the data.

# 14.4 APPLICATION FEATURES:

# 14.4.1 REAL-TIME DATA DISPLAY:

The app uses IoT device data to display real-time AQI values, including pollutant levels, temperature, and humidity.

# 14.4.2 GRAPHICAL VISULAIZATION:

The application uses charts and graphs to visually represent air quality trends over time.

# 14.4.3 ALERTS AND NOTIFICATION:

Users are notified when air quality surpasses safe levels, thereby enhancing proactive measures for health and safety.

# 14.4.4 HISTORICAL DATA STORAGE:

The app has the capability to store historical data either locally or on a cloud service for future analysis.

# 14.5 DEVELOPMENT PROCESS:

# 14.5.1 FRONTED DEVELOPMENT:

The layout design is done using XML, while the logic implementation is done using Java/Kotlin.

# 14.5.2 BACKEND INTEGRATION:

The project involves developing RESTful APIs for IoT device data retrieval and integrating MQTT for real-time data updates, particularly for low latency applications.

# 14.5.3 CONNECTIVITY:

The mobile app and IoT device should be connected via WiFi for seamless communication, and data exchange should be done using JSON or other formats.

# 14.6 CHALLENGES AND SOLUTIONS:

# 14.6.1 DATA LATENCY:

The objective is to enhance data transmission protocols like MQTT to reduce delays.

# 14.6.2 POWER EFFICIENCY:

Efficiently manage battery usage in both IoT devices and mobile apps.

# 14.6.3 SECURITY:

Secure communication channels like HTTPS and MQTT with SSL/TLS are essential for protecting data integrity and user privacy.

# 14.7 TESTING AND DEPLOYMENT:

# 14.7.1 TESTING:

The process involves thorough testing using Android Studio's emulator and real devices to ensure the app's reliability and performance.

# 14.7.2 DEPLOYMENT:

The app should be published on the Google Play Store or distributed via APKs, ensuring it meets user requirements and is user-friendly.

# 14.8 PROGRAMS OF IOT-BASED AIR QUALITY INDEX METER:

# 14.8.1 JAVA CODE OF IOT-BASED AIR QUALITY INDEX METER:

package com.huzaifashahbaz.airqualityindexapp;
import android.os.Bundle;
import android.view.View;
import android.widget.Button;
import android.widget.TextView;
import androidx.appcompat.app.AppCompatActivity;
import java.io.InputStream;
import java.net.HttpURLConnection;
import java.net.URL;
import org.json.JSONObject;
public class MainActivity extends AppCompatActivity {
    private TextView connectionStatus;
    private TextView aqiValue, pm25Value, pm10Value, gasValue;
    private Button connectButton;
    @Override
    protected void onCreate(Bundle savedInstanceState) {
        super.onCreate(savedInstanceState);
        setContentView(R.layout.activity_main);
        connectionStatus = findViewById(R.id.connection_status);
        aqiValue = findViewById(R.id.aqi_value);
        pm25Value = findViewById(R.id.pm25_value);
        pm10Value = findViewById(R.id.pm10_value);
        gasValue = findViewById(R.id.gas_value);
        connectButton = findViewById(R.id.connect_button);
        connectButton.setOnClickListener(new View.OnClickListener() {
            @Override
            public void onClick(View v) {
                connectToSensor();
            }
        });
    }
    private void connectToSensor() {
        // Example using WiFi and HTTP request to ESP32/ESP8266
        String urlString = "http://your-esp32-ip-address/sensor-data";
        new Thread(() -> {
            try {
                URL url = new URL(urlString);
                HttpURLConnection urlConnection = (HttpURLConnection) url.openConnection();
                InputStream in = urlConnection.getInputStream();
                byte[] response = new byte[in.available()];
                in.read(response);
                String responseString = new String(response);
                JSONObject jsonResponse = new JSONObject(responseString);
                int aqi = jsonResponse.getInt("aqi");
                int pm25 = jsonResponse.getInt("pm25");
                int pm10 = jsonResponse.getInt("pm10");
                int gas = jsonResponse.getInt("gas");
                runOnUiThread(() -> {
                    connectionStatus.setText("Connected");
                    connectionStatus.setTextColor(getResources().getColor(android.R.color.holo_green_dark));
                    aqiValue.setText("AQI: " + aqi);
                    pm25Value.setText("PM2.5: " + pm25);
                    pm10Value.setText("PM10: " + pm10);
                    gasValue.setText("Gas: " + gas);
                });

            } catch (Exception e) {
                e.printStackTrace();
                runOnUiThread(() -> {
                    connectionStatus.setText("Connection Failed");
                    connectionStatus.setTextColor(getResources().getColor(android.R.color.holo_red_dark));
                });
            }
        }).start();
    }
}

# 14.8.3 MAIN ACTIVITY OF IOT-BASED AIR QUALITY INDEX METER:

<?xml version="1.0" encoding="utf-8"?>
<LinearLayout
    xmlns:android="http://schemas.android.com/apk/res/android"
    xmlns:app="http://schemas.android.com/apk/res-auto"
    xmlns:tools="http://schemas.android.com/tools"
    android:layout_width="match_parent"
    android:layout_height="match_parent"
    android:orientation="vertical"
    android:padding="16dp">
    <TextView
        android:id="@+id/connection_status"
        android:layout_width="wrap_content"
        android:layout_height="wrap_content"
        android:text="Not Connected"
        android:textColor="@android:color/holo_red_dark"
        android:textSize="18sp"/>
    <TextView
        android:id="@+id/aqi_value"
        android:layout_width="wrap_content"
        android:layout_height="wrap_content"
        android:text="AQI: N/A"
        android:textSize="24sp"
        android:layout_marginTop="20dp"/>
    <TextView
        android:id="@+id/pm25_value"
        android:layout_width="wrap_content"
        android:layout_height="wrap_content"
        android:text="PM2.5: N/A"
        android:textSize="20sp"
        android:layout_marginTop="10dp"/>
    <TextView
        android:id="@+id/pm10_value"
        android:layout_width="wrap_content"
        android:layout_height="wrap_content"
        android:text="PM10: N/A"
        android:textSize="20sp"
        android:layout_marginTop="10dp"/>
    <TextView
        android:id="@+id/gas_value"
        android:layout_width="wrap_content"
        android:layout_height="wrap_content"
        android:text="Gas: N/A"
        android:textSize="20sp"
        android:layout_marginTop="10dp"/>
    <Button
        android:id="@+id/connect_button"
        android:layout_width="wrap_content"
        android:layout_height="wrap_content"
        android:text="Connect to Sensor"
        android:layout_marginTop="20dp"/>
</LinearLayout>

# 14.8.4 OUTPUT OF IOT-BASED AIR QUALITY INDEX METER:

# CHAPTER#15 FIREBASE

# 15.1FIREBASE:

To integrate Firebase with your IoT-based Air Quality Index (AQI) meter project, follow these steps: Firebase stores and visualizes real-time air quality data from sensors connected to the ESP32.

# 15.2 STEPS FOR FIREBASE INTERGRATION IN AN IOT-BASED AIR QUALITY INDEX METER:

# 15.2.1 SETUP FIREBASE:

# 15.2.1.1 CREATE A FIREBASE PROJECT:

Navigate to the Firebase Console, create a new project, and integrate Firebase into your web app.

# 15.2.1.2 ENABLE REALTIME DATABASE OR FIREBASE:

Choose between Firebase Realtime Database for real-time IoT projects, while Firestore offers advanced querying options and is easier for real-time projects.

# 15.2.1.3 SETUP RULES:

Configure database security rules to control read/write access, allowing authenticated access only or public access for testing purposes.

# 15.2.2 PREPARE ESP32 FOR FIREBASE COMMUNICATION:

# 15.2.2.1 INSTALL FIREBASE ESP32 LIBRARY:

Install the Firebase ESP32 Client library in Arduino IDE or PlatformIO by searching for it under the library manager.

# 15.2.2.2 FIREBASE CREDENTIALS SETUP:

Configure Firebase in your code by including your project's API key, database URL, and Firebase authentication.

# 15.2.3 INTEGRATE SENSORS WITH ESP32:

# 15.2.3.1 CONNECT AIR QUALITY SENSORS:

Connect MQ135, PM2.5, or DHT22 sensors to the ESP32 to measure air quality parameters like CO2, particulate matter, and temperature/humidity.

# 15.2.3.2 READ DATA FROM SENSORS:

Utilize libraries like MQ-5 and MQ135 in your Arduino code to access real-time sensor data.

# 15.2.4 SEND DATA TO FIREBASE:

# 15.2.4.1 WRITE CODE TO SEND DATA:

Use Firebase library's Firebase.set() function to send sensor data like CO2 levels and PM2.5 readings to Firebase Realtime Database or Firestore.

#include <FirebaseESP32.h>

#include <WiFi.h>

// Firebase settings

#define FIREBASE_HOST "  IOT-BASED AIR QUALITY INDEX METER.firebaseio.com"

#define FIREBASE_AUTH "huzaifashahbaz-database-secret"

FirebaseData firebaseData;

String path = "/air_quality_data";

// WiFi settings

const char* ssid = "your-SSID";

const char* password = "your-PASSWORD";

void setup() {

Serial.begin(115200);

WiFi.begin(ssid, password);

// Connect to WiFi

while (WiFi.status() != WL_CONNECTED) {

delay(1000);

Serial.println("Connecting to WiFi...");

}

// Initialize Firebase

Firebase.begin(FIREBASE_HOST, FIREBASE_AUTH);

Firebase.reconnectWiFi(true);

if (Firebase.ready()) {

Serial.println("Firebase connected");

}

}

void loop() {

float co2 = readCO2();  // Function to read CO2 from sensor

float pm2.5 = readPM2.5();  // Function to read PM2.5 from sensor

float PM10 = readPM10();  // Function to read PM10 from sensor

// Send data to Firebase

Firebase.set(firebaseData, path + "/CO2", co2);

Firebase.set(firebaseData, path + "/PM25", pm25);

delay(5000); // Send data every 5 seconds

}

# 15.2.5 VISUALIZE DATA IN FIREBASE:

# 15.2.5.1 FIREBASE CONSOLE:

The stored data can be accessed through the Firebase Console, specifically in the Realtime Database or Firestore section.

# 15.2.5.2 FIREBASE ANALYTICS:

Firebase Analytics can be utilized for advanced visualization and processing, or it can be integrated with Google Cloud services for enhanced functionality.

# 15.2.6 ADDITIONAL FEATURES:

# 15.2.6.1 PUSH NOTIFICATIONS:

Firebase Cloud Messaging (FCM) has been configured to send push notifications when air quality levels reach unsafe levels.

# 15.2.6.2 DATA RETRIEVAL ON MOBILE/WEB APP:

Utilize Firebase SDKs to develop a web or mobile application that efficiently retrieves real-time AQI data and presents it to users.

# CHAPTER#16 BLYNK APP

# 16.1BLYNK APP:

The Blynk app integrates with an IoT-based Air Quality Index (AQI) meter, allowing real-time monitoring of air quality parameters via a smartphone app. Blynk is a user-friendly platform that enables seamless interaction between IoT devices and users, facilitating control and data visualization.

# 16.2 KEY COMPOENETS:

# 16.2.1 BLYNK APPLICATIONS:

The Blynk app is a mobile app that offers real-time data visualization widgets, including gauges, graphs, LEDs, and notifications, for IoT devices. It provides users with real-time alerts on air quality, including CO2 levels, PM2.5, temperature, and humidity, directly on their smartphones.

# 16.2.2 ESP32 MICROCONTROLLER:

The ESP32 is the central controller in the AQI meter system, reading data from air quality sensors and transmitting it to the Blynk cloud via Wi-Fi. It communicates with the cloud server to display the data on the mobile app.

# 16.2.3 AIR QUALITY SENSORS:

MQ135, MQ5,PM2.5 and PM10 sensors measure air pollutants like CO2, particulate matter, and VOCs. Data collected is processed by ESP32,ESP8266 and sent to Blynk cloud, accessible via a mobile app, ensuring accurate monitoring and reporting.

# 16.2.4 CLOUD CONNECTIVITY:

Blynk uses a cloud-based infrastructure to enable IoT devices to send and receive data over the internet. The ESP32 sends sensor data to the Blynk cloud, which the app retrieves for real-time visualization, enabling remote monitoring of air quality.

# 16.2.5 VISUALIZATION AND CONTROL:

The Blynk app offers interactive widgets to display real-time air quality data, with gauges or graphs displaying AQI values and LEDs indicating specific air quality thresholds. Users can set threshold values to receive notifications or alerts if air quality drops below acceptable levels, enhancing proactive monitoring.

# 16.3 BENEFITS:

# 16.3.1 REAL-TIME MONITORING:

Blynk allows users to monitor air quality in real-time, enabling swift responses to hazardous pollution levels.

# 16.3.2 REMOTE ACCESS:

The system's internet connectivity allows users to access data from anywhere, enhancing flexibility and ease of use.

# 16.3.3 CUSTOM ALERTS:

The app alerts users when air quality levels become hazardous, ensuring a proactive approach to maintaining safe environments.

# 16.3.4 USER-FRIENDLY INTERFACE:

Blynk's user-friendly interface simplifies data visualization and interaction with IoT devices without requiring advanced programming skills.

# 16.4 PROGRAMS OF BLYNK APP

# CHAPTER#17 MATLAB

# 17.1MATLAB:

MATLAB can be utilized in an IoT-based Air Quality Index (AQI) Meter for simulation, data analysis, visualization, and control, with theoretical aspects encompassing simulation, data analysis, visualization, and control.

# 17.2 AIR QUALITY INDEX OVERVIEW(AQI):

AQI is a measure that indicates the current or predicted air pollution levels, focusing on pollutants like PM2.5, PM10, CO, SO₂, NO₂, and O₃. These values are measured using sensors and converted into AQI using standard formulas.

# 17.3 ROLE OF IOT:

IoT (Internet of Things) allows real-time monitoring of air quality by deploying sensors in various locations, collecting data and transmitting it to a central server or cloud for analysis.

# 17.3.1 SENSORS:

The objective is to identify and quantify environmental pollutants.

# 17.3.2 CONNECTIVITY MODULES:

Wi-Fi and SENSORS for data transmission.

# 17.3.3 PROCESSING UNITS:

Such as ESP32,ESP8266 and ARDUINO the process involves processing sensor data and sending it to cloud platforms for further analysis.

# 17.4 USING FOR THE AQI METER:

MATLAB is utilized in various stages of developing and analyzing an IoT-based AQI Meter, playing a crucial role in various areas.

# 17.4.1 DATA ACQUISTION:

MATLAB is a powerful tool for collecting sensor data from IoT devices, enabling real-time visualization and access from the cloud through IoT platforms like ThingSpeak. Its IoT Toolbox offers functions for interacting with MQTT brokers and HTTP protocols for receiving sensor data from ESP32 or other IoT devices.

# 17.4.2 SIGNAL PROCESSING:

MATLAB can be utilized to preprocess air quality sensor data, filter out noise, and extract valuable information, such as using low-pass filters to remove high-frequency noise.

# 17.4.3 DATA ANALYSIS AND CALIBRATION:

MATLAB's Curve Fitting Toolbox aids in analyzing sensor data over time, calculating averages, and calibrating sensors using calibration curves, thereby ensuring accurate sensor models and correcting deviations from expected values.

# 17.4.4 AQI CALCULATION:

MATLAB calculates the AQI from raw pollutant concentrations using conversion formulas after obtaining sensor data.

Equation 17.4.3:AQI CALCUALTION

AQIp=[(Ihi-Ilo)(Chi-Clo)*(Cp-Clo) ]+Ilo

Where:

CP=Concentration of the pollutant

Chi,Clo=AQI breakpoints for that pollutant.

Ihi,Ilo=AQI index values for those breakpoints.

MATLAB is equipped with built-in functions for matrix manipulation and mathematical operations, making it an efficient tool for handling calculations.

# 17.4.5 VISUALIZATION:

MATLAB allows for real-time plotting of AQI data, displaying trends over time or geographic distribution, using 3D Plots and Heatmaps as common representations.

# 17.4.6 PREDICTION AND MACHINE LEARNING:

MATLAB's Machine Learning Toolbox enables the creation of models to predict future air quality trends using historical data, enabling preemptive actions based on predicted pollution spikes.

# 17.4.7 CLOUD INTERGRATION:

MATLAB can be integrated with cloud platforms like AWS IoT or ThingSpeak to receive and analyze data from connected IoT sensors, with ThingSpeak enabling real-time analysis of MATLAB code directly on the cloud.

# 17.5 MATLAB IOT-BASED AQI OVERFLOW:

The workflow of MATLAB in an IoT-based AQI system can be summarized as follows:

# 17.5.1 DATA COLLECTION:

Sensor data from ESP32,ESP8266 and Arduino is transmitted to a cloud platform or local server.

# 17.5.2 DATA PROCESSING:

MATLAB is a software that processes data, applies filters, and employs noise reduction techniques.

# 17.5.3 AQI CALCULATIONS:

MATLAB is utilized to calculate the AQI values by utilizing pollutant concentration data and relevant formulas.

# 17.5.4 DATA VISUALIZATION:

AQI data is displayed in real-time through MATLAB plots or dashboards.

# 17.5.5 MACHINE LEARNING:

MATLAB utilizes predictive models to predict future air quality conditions.

# 17.5.6 CLOUD INTEGRATION:

MATLAB is integrated with IoT platforms to analyze real-time data and trigger alerts when the AQI threshold is exceeded.

# 17.6 PROGRAMS OF MATLAB FOR IOT-BASED AIR QUALITY INDEX METER:

# 17.6.1 ESP32 MATLAB CODE:

% MATLAB code to read serial data from ESP32 and plot temperature & humidity

% Setup the serial port object. Make sure the COM port matches your ESP32's port.

serialPort = "COM3";  % Change this to your actual COM port

baudRate = 115200;    % Same baud rate as in ESP32

% Create serial object

s = serialport(serialPort, baudRate);

flush(s);  % Clear the serial buffer

% Set the number of data points you want to plot

numDataPoints = 100;

temperature = zeros(1, numDataPoints); % Preallocate temperature array

humidity = zeros(1, numDataPoints);    % Preallocate humidity array

% Live plot setup

figure;

hTemp = plot(temperature, 'r', 'DisplayName', 'Temperature (°C)');

hold on;

hHum = plot(humidity, 'b', 'DisplayName', 'Humidity (%)');

legend;

xlabel('Time');

ylabel('Values');

title('Temperature and Humidity over Time');

grid on;

for i = 1:numDataPoints

data = readline(s);  % Read a line of data from the serial port

disp(data);  % Display data in MATLAB console for debugging

% Parse temperature and humidity from the ESP32's output string

% Example of parsing string "Temperature: 45.5 °C, Humidity: 80.0 %"

temperatureMatch = regexp(data, 'Temperature: ([\d.]+)', 'tokens');

humidityMatch = regexp(data, 'Humidity: ([\d.]+)', 'tokens');

if ~isempty(temperatureMatch) && ~isempty(humidityMatch)

% Convert the matched data from string to numbers

temp = str2double(temperatureMatch{1});

hum = str2double(humidityMatch{1});

% Shift data to the left and add new data points

temperature = [temperature(2:end), temp];

humidity = [humidity(2:end), hum];

% Update plots with new data

set(hTemp, 'YData', temperature);

set(hHum, 'YData', humidity);

drawnow;

end

end

% Close serial port after use

clear s;

# 17.6.2 OUTPUT OF ESP32 MATLAB CODE: