AIR QUALITY INDEX METER SYSTEM

By

Huzaifa Shahbaz

21-CE-009

Aqsa Shah

21-CE-039

Final Year Project Report

Department of Computer Engineering

HITEC University, Taxila

Fall 2021

Declaration

We hereby declare that this project neither as a whole nor as a part there of has been copied out from any source. It is further declared that we have developed this project and the accompanied report entirely on the basis of our personal efforts made under the sincere guidance of our supervisor. No portion of the work presented in this report has been submitted in the support of any other degree or qualification of this or any other University or Institute of learning. If any violation is found in this FYP report, we will be liable to be punished under the plagiarism rules of HEC.

Signature:_________________

Name: Huzaifa Shahbaz

Signature:____________

Name: Aqsa Shah

HITEC University, Taxila

Fall 2021

Dedication

This project is dedicated to our beloved parents and supervisors, whose continued support, encouragement, and guidance have helped us through our academic journey. Faith in our abilities has always made us motivated. We shall equally thank our esteemed department teachers for giving us important knowledge and direction to us during our academic progress. Their dedication and mentorship were vital for shaping our learning experience.

Department of Computer Engineering HITEC University, Taxila

AIR QUALITY INDEX METER SYSTEM

Presented by

Name	Roll No

Huzaifa Shahbaz	21-CE-009

Aqsa Shah	21-CE-039

In partial fulfilment of the four years B.S. Computer Engineering requirements, HITEC University Taxila, Pakistan underneath the supervision of its project adviser as well as authorized by the project review board has been recognized.

Ms Sara Tehsin

Lecturer, Project Advisor

Dr Muhammad Bilal

Chairman

Department of Computer Engineering

Acknowledgement

We would like to thankfulness to our supervisor and co-supervisor,        Ms Sara Tehsin and Ms Bushra Fiaz, for their precious guidance, support and patience throughout the project. Their help was crucial in the completion of this project and this thesis.

We also would like to thank our faculty members and staff of the Computer Engineering Department at HITEC University for their support and guidance.

We are grateful to our colleagues and friends for their encouragement and making our journey enjoyable and memorable. Your friendship and support have been a great source of motivation.

We express our honest thanks to  parents , for their conditional love, support and sacrifices which facilitated us to seek our dreams. Without their encouragement, this achievement would not have been possible.

Lastly, we would like to acknowledge  that for not giving up on the project  during the difficult challenges and obstacles which we faced throughout the academic progress. Our supervisor and co-supervisor  who guide us through the project throughout the academic progress by taking out from their precious and tell us the techniques that how we can implement the project architectural diagram and how to present in front of the department. Also tell us how to tackle in every situation where we are stuck at any single moment.

Abstract

Air pollution is one of the effects in general produced by modern rapid urbanization and industrial activities, which greatly threaten public health and environmental safety. This work focuses on the development of an IoT-based Air Quality Index (AQI) Meter System designed to monitor key air pollutants PM2.5, PM10, NO₂, CO, and noise. The sensor measures the online data through ESP32/ESP8266 microcontroller whereas the data is transmitted through WiFi/Bluetooth to a cloud-based platform for processing, visualization, and storage. One can access the AQI - Air Quality Index real-time information through a mobile application or web interface and, thus, have proactive environmental awareness and decision making. The hardware components for this system are:

1:ESP32,ESP8266, Arduino (Microcontrollers for sensor interfacing)

2:MQ Series Gas Sensors (MQ-135 or MQ-5) (Gas concentration detection)

3:PM2.5 & PM10 Sensors (Particulate matter monitoring)

4:Battery Pack, Power Adapter, and Charger Setup (Power supply and backup)

5:Weatherproof Housing (Outdoor deployment protection)

6:WiFi/Bluetooth modules (Wireless communication)

The software  components for this system are:

1:Android Studio, Firebase, Blynk Mobile Application (Mobile Application and Cloud Integration)

2:MATLAB, Python (Data Processing, Analysis, and AI-Based Predictions)

3:Arduino Framework, VS Code (Firmware Development and Programming)

4:ThingSpeak, MQTT Protocols, AWS IoT, Adafruit IO (Complete Cloud Data Transmission and Monitoring)

5:GitHub (Version Control and Collaboration)

6:Authentication Mechanisms (Data Security and User Access Control)

7:Grafana, Excel (Data Visualization and Reporting)

8:HTTP/HTTPS, Sensor and WiFi Libraries (Network Communication and Device Interfacing)

TABLE OF CONTENTS

Table of Contents

1	INTRODUCTION	13

1.1	BACKGROUND	13

1.1.1	OVERVIEW OF AIR POLLUTION AND ITS IMPACT	13

1.1	IMPORTANCE OF AIR QUALITY INDEX METER SYSTEM	14

1.2	PROBLEM STATEMENT	14

1.2.1	CHALLENGES IN EXISTING AIR QUALITY INDEX METER SYSTEMS	14

1.2.2	NEED FOR A REAL-TIME IOT-BASED SOLUTION	15

1.3	OBJECTIVES	16

1.3.1	MAIN OBJECTIVE	16

1.3.2	SPECIFIC OBJECTIVES	17

1.4	SIGNIFICANCE OF THE PROJECT	17

1.4.1	IMPACT ON PUBLIC HEALTH AND ENVIRONMENT	17

1.4.2	TECHNOLOGICAL  CONTRIBUTION	18

1.5	SUSTAINABLE DEVELOPMENT GOALS(SDGs)	19

1.6	THESIS ORGANIZATION	19

2	LITERATURE REVIEW	21

2.1	OVERVIEW OF AIR QUALITY MONITORING TECHNIQUES	21

2.2	EXISTING SYSTEM	22

3.2.4	GOVERNMENT AIR MONITORING STATIONS	22

2.2.2	IOT-BASED AIR QUALITY MONITORING SOLUTIONS	26

2.2.3	MOBILE AND HANDHELD AIR QUALITY SENSORS	27

2.3	LIMITATIONS  OF EXISTING SOLUTIONS	28

2.4	PROPOSED SYSTEM	30

2.4.1	SYSTEM ARCHITECTURE	30

3	METHODOLOGY	32

3.1	SYSTEM ARCHITECTURE	32

3.1.1	SENSING LAYER	32

3.1.2	COMMUNICATION LAYER	32

3.1.3	DATA PROCESSING AND STORAGE LAYER	33

3.1.4	APPLICATION LAYER	33

3.1.5	POWER MANAGEMENT LAYER	33

3.1.6	SYSTEM ARCHITECTURE DIAGRAM	33

3.2	BLOCK DIAGRAM	34

LIST OF FIGURES

Figure 3.1:SYSTEM ARCHITECTURE OF AIR QUALITY INDEX METER SYSTEM	34

Figure 3.2:BLOCK DIAGRAM OF AIR QUALITY INDEX METER SYSTEM	36

LIST OF TABLES

Table 2.1: LITERATURE REVIEW OF AIR QUALITY INDEX METER SYSTEM	21

Table 2.2:LITERATURE REVIEW OF GOVERNMENT AIR MONITORING STATIONS	23

Table 2.3:LITERATURE REVIEW OF AIR QUALITY MONITORING SOLUTIONS	26

Table 2.4:COMMON MOBILE AND HANDHELD AIR QUALITY SENSORS USED IN AQI METER SYSTEM	27

LIST OF ABBREVIATIONS

| AQI | AIR QUALITY INDEX |
| --- | --- |
| MQ-5 AND MQ-135 | MEDIUM QUALITY |
| PM2.5 AND PM10 | PARTICULATE MATTER |
| ESP32/ESP8266 | ESPRESSIF SYSTEM PROTOCOL |
| IOT | INTERNET OF THINGS |
| MCU | MICROCONTROLLER UNIT |
| NO2 | Nitrogen Dioxide |
| O3 | OZONE |
| SO2 | Sulfur dioxide |
| CO | Carbon monoxide |
| SnO2 | Tin(IV) oxide |
| H2 | Hydrogen |
| LPG | Liquefied petroleum gas |
| CH4 | Methane |
| Nox | Nitrogen oxides |
| VOCs | Volatile organic compounds |
| NH3 | Ammonia |
| Wi-Fi | Wireless Fidelity |
| AWS IoT | Amazon Web Services Internet of Things |
| APIs | Application Programming Interface |
| I2C | Inter-Integrated Circuit |
| SPI | Serial Peripheral Interface |
| UART | Universal Asynchronous Receiver-Transmitter |
| MQTT | Message Queuing Telemetry Transport |
| HTTP | Hypertext Transfer Protocol |
| HTTPS | Hypertext Transfer Protocol Secure |
| UV | Ultraviolet |
| SRS | SYSTEM REQUIREMENTS SPECIFICATIONS |
| FR | For real |
| NFR | Not for real |
| VS CODE | Virtual studio Code |
| SDGs | SUSTAINABLE DEVELOPMENT GOALS |
| EPA | Environmental Protection Agency |
| WMO | World Meteorological Organization |
| AI | Artificial intelligence |
| I/O | INPUT/OUTPUT |
| GSM | Global System for Mobile Communications |
| IDE | Integrated Development Environment |
| SDK RBAC TLS SSID NVS OTA QoS CoAP AMQP IIC AWS SNS FCM SD EEPROM ELF MAE RMSE LoRaWAN NB-IOT | Software Development Kit role-based access control Transport Layer Security Service Set Identifier Non-Volatile Storage Over-the-Air Quality of Service Constrained Application Protocol Advanced Message Queuing Protocol Inter-Integrated Circuit Amazon Web Services Simple Notification Service Firebase Cloud Messaging Secure Digital Electrically Erasable Programmable Read-only Memory Executable and Linkable Format Mean Absolute Error Root Mean Square Error Long Range Wide Area Network Narrow Band-Internet of Things |

Chapter One

# INTRODUCTION

# BACKGROUND

# OVERVIEW OF AIR POLLUTION AND ITS IMPACT

In reality, air pollution has been one of the crucial environmental problems of the 21st century, which is heightened by industrialization, urban development into cities, and vehicular emissions. Air Quality Index (AQI) measures pollutants to bring information and knowledge of pollution levels and mitigations to the policymakers, researchers, and the public. There is an IoT-based Air Quality Index Meter System to act in real time and give live data for air quality monitoring directly from gas sensors and communications technologies. The measures are IoT, in support of cloud computing, and are AI-based to create sufficient analytics for determining pollution tendencies and the risk predictive screening for hazardous conditions in the air.

- AIR POLLUTION SOURCES AND EFFECTS:

Air pollution is ubiquitous, mostly arising from various sources, based on anthropogenic and natural sources.

- Anthropogenic Sources:

- Industrial emissions (factories, power plants).

- Vehicular emissions (cars, trucks, airplanes).

- Biomass burning (wood, agricultural waste).

- Household activities (cooking with solid fuels, heating).

- Waste decomposition and landfill gases.

- NATURAL SOURCES:

- Volcanic eruptions (sulfur dioxide, particulate matter).

- Wildfires (carbon monoxide, fine particulates).

- Dust storms (PM2.5 and PM10 pollutants).

- Oceanic emissions (volatile organic compounds)

- HEALTH AND ENVIRONMENTAL EFFECTS:

Chronic exposure to adverse air quality can be devastating to human health, culminating in a variety of respiratory diseases (asthma, bronchitis, lung cancer), cardiovascular disorders, and diminished cognitive functions. According to the WHO, over 7 million premature deaths can be attributed to air pollution each year (WHO 2021). The environmental effects are equally damaging: acid rain, global warming, ozone layer depletion, and decreased agricultural productivity.

# IMPORTANCE OF AIR QUALITY INDEX METER SYSTEM

In modern times, air pollution is one of the foremost environmental disturbances affecting humans, ecosystems, and climate. To combat the effects of air pollution on human health and ecosystems, air quality has to be monitored in real-time. The IoT-based Air Quality Index (AQI) Meter System provides for the continuous monitoring of air pollutants like PM2.5, PM10, MQ-135(SO2, NO2, O3, and CO), and MQ-5(SnO2, H2, LPG, CH4, CO, and Alcohol) so that authorities, researchers, and the common man can all take necessary precautions according to their levels.

IMPORTANCE  OF AQI METER SYSTEM

- HEALTH PROTECTION:

Since the air quality could be poor and can cause different respiratory diseases like asthma, bronchitis, and other cardiovascular ailments, the AQI meter serves to provide real-time data so that individuals can stay away from hazardous air conditions. According to the WHO, nearly 7 million people die prematurely due to air pollution every year (WHO, 2021).

- ENVIRONMENTAL MONITORING:

The nature of the air pollutants leads to acid rains, the formation of the smog, and destruction of the ozone layer. The AQI system serves in the detection of pollutants and analysis of their trend to support environmental agencies in formulating policies. Research from IEEE Xplore shows IoT-based air monitoring systems improve accuracy in environmental assessment by 85% (Al-Hamadi et al., 2022).

- SMART CITIES AND URBAN PLANNING:

Smart cities utilize AQI systems to maintain livable environments. Real-time air quality data helps optimize traffic control and industrial emissions. A study published in the IEEE Internet of Things Journal highlights that integrating AQI meters into smart city infrastructure can reduce pollution levels by 30% through data-driven decision-making (Zhang et al., 2023).

- REAL-TIME DATA FOR PREDICTIVE ANALYSIS:

Currently AQI meters are based on IoT, AI, and machine learning algorithms to predict trends in air quality. This made it possible for governments to take precautionary action. An IEEE study into AI-driven air quality prediction has stated that machine learning models can reach accuracies of 90% forecasting pollution levels (Liu et al., 2022).

- PUBLIC AWARENESS AND DECISION MAKING:

Merging AQI data with mobile apps and public displays enables decisions regarding outdoor activity. The IEEE Smart Cities Initiative espouses this enhancement of air-quality awareness via digital platforms to have catalyzed engagement among the public in urban areas by over 60% (Singh et al., 2023).

# PROBLEM STATEMENT

# CHALLENGES IN EXISTING AIR QUALITY INDEX METER SYSTEMS

Monitoring air pollution has gained extreme significance globally, thereby necessitating accurate and efficient Air Quality Index(AQI) meter systems. However, several challenges faced by existing AQI monitoring systems reduce their effectiveness. The major challenges are:

- HIGH COST AND LIMITED ACCESSIBILITY:

Most air quality monitoring stations basically employ high range sensors and complex infrastructures that incur high costs of installation and maintenance. Such costs limit their deployment, especially in low-income regions and developing countries.

- LACK OF REAL-TIME DATA AND DELAYED REPORTING:

Pollution monitoring systems employed under the conventional rules depend on periodic data collection instead of real-time monitoring. Any delay in data report can hinder timely intervention if hazardous pollution levels are to be dealt with.

- LIMITED SENSOR ACCURACY AND CALIBRATION ISSUES:

Economical sensors usually used in IoT-based AQI systems find it hard to meet accuracy and long-term stability. They need frequent calibration, which ensures measurements are reliable, but this is often ignored since resources are limited.

- ENERGY CONSUMPTION AND POWER CONSTRAINTS:

Most of the existing systems still work with wired energizing sources making such systems dependent on their indoor placement and cannot be installed in remote or outdoor locations. IoT based AQI meters for continuous operation have high energy consumption.

- DATA STORAGE AND MANAGEMENT CHALLENGES:

The cloud provides storage and processing for very data-hungry air quality index (AQI) meters, but effective data management will consequently hinder its retrieval and analysis of historical data.

- CONNECTIVITY AND NETWORK DEPENDENCY:

Most of the contemporary air quality index meters require either wi-fi connectivity, cellular networks, or LoRaWAN for data transfer to cloud platforms. However, issues concerning connectivity in remote areas strongly affect the understanding of real-time monitoring.

- LACK OF AI-BASED PREDICTIVE ANALYSIS:

Existing AQI systems are mainly preventive, focusing on real-time monitoring without predictive analysis capabilities. AI-driven models may enhance decision-making by predicting pollution levels. The absence of this attribute exists in many systems.

# NEED FOR A REAL-TIME IOT-BASED SOLUTION

Air pollution constitutes a major environmental and public health hazard, leading to diseases of the respiratory system, cardiovascular complications, and environmental degradation. Simultaneously, industrialization, vehicular emissions, and urbanization demand the real-time air quality monitoring system. Traditional air quality monitoring stations, although credible, are expensive, have limited geographical coverage, and make no real-time access available. It is an IOT-based Air Quality Index (AQI) Meter System that provides real-time monitoring by integrating the ESP32, ESP8266, and Arduino Uno with inexpensive air quality sensors (PM2.5, PM10, MQ-135, MQ-5). The data collected through these air quality sensors are sent through Wi-Fi and stored on cloud platforms such as ThingSpeak, Firebase, AWS IoT, and various tools for visualization and analysis. This helps people, researchers, and policymakers to make decisions using data to mitigate air pollution.

- NEED FOR REAL-TIME IOT-BASED AQI METER SYSTEM

- LIMITATIONS OF TRADITIONAL AIR QUALITY INDEX METER SYSTEM

The air monitoring stations established by government agencies are inadequate in their installation methods which include:

- HIGH COST:

Infrastructure and maintenance result in high costs.

- LIMITED ACCESSIBILITY:

Data is presently not widely accessible to the general public.

- FIXED LOCATIONS:

Monitoring multiple locations all at once is not possible.

- DELAYED RESPONSES:

According to the documents, it appears that the system is not capable of bringing to the user real-time alerts and notifications.

- ADVANTAGES OF AN IOT-BASED REAL-TIME AQI SYSTEMS:

The congruent major challenges addressed by an IOT-enabled air quality meter are:

- LOW-COST DEPLOYMENT:

Use affordable microcontrollers like ESP32, ESP8266, or Arduino Uno together with budget sensors.

- REAL-TIME MONITORING:

Data is always updated and relayed over Wi-Fi.

- SCALABILITY:

In various locations, sensor nodes could be placed throughout the area for larger exposure.

- CLOUD  INTEGRATION:

Data storage and analysis are performed on ThingSpeak, Firebase, and AWS IoT for trend analysis and predictive analytics.

- USER ACCESSIBILITY:

Air quality data is accessible for citizens via mobile applications or web dashboards.

- ROLE OF ESP32,ESP8266 AND ARDUINO UNO IN THE SYSTEM

ARDUINO UNO:

- This central controller is the core of all sensor data acquisition.

- Reads values from the sensors like PM2.5 and PM10,MQ-135(SO2,NO2,O3 and CO) and MQ-5(SnO2,H2, LPG, CH4, CO and Alcohol).

- Communicating with an ESP32 or ESP8266 using serial communication (UART, I2C, or SPI) is a start.

ESP32 and ESP8266:

- Provides Wi-Fi connectivity to cloud platforms for data transmission.

- The organization manages a web server that provides real-time visualization services.

- Putting into use the HTTP/MQTT protocols, people take it upon themselves to implement security protocols so that they can ensure the safety of data transmitted between themselves and the internet of things in platforms such as ThingSpeak, Firebase and AWS IOT.

# OBJECTIVES

# MAIN OBJECTIVE

The primary goal of this IOT-Enabled Air Quality Index Meter System is to design and implement an air quality monitoring system in real-time coupled with the Arduino Uno and Internet Connected sensors for analyzing the key environmental parameters such as PM2.5, PM10, MQ-135(SO2, NO2, O3, and CO), and MQ-5(SnO2, H2, LPG, CH4, CO, and Alcohol). All readings from the sensor are collected, derived by Arduino Uno, and sent to the cloud platforms such as ThingSpeak, Firebase, or AWS IoT for visualization and remote monitoring in real-time. It also aims at integrating an alert system in the event of threshold violations and the use of AI-based predictive analysis to show the future trend of air pollution. This achieves environmental sustainability by having a component of wireless communication (Wi-Fi via ESP8266/ESP32) and a mobile application embedded into it.

# SPECIFIC OBJECTIVES

The main target for the project is the design and development of an IOT-based AQI Meter System for monitoring real-time environmental parameters. The specific objectives are:

- Investigate the effects of air pollutant particles(PM2.5, PM10, SnO2, H2, LPG, CH4, CO,  Alcohol, SO2, NO2, O3, and CO) in health and roles of IoT in air quality monitoring.

- Specify appropriate air and particulate matter sensors (MQ-135, MQ-5, PMS5003) for proper data acquisition using Arduino Uno,ESP32, and ESP8266 as the microcontroller.

- Design a microcontroller-based system for monitoring real-time air quality and atmospheric parameters and transmission of the data via Wi-Fi to a cloud platform.

- Execute data logging and visualization to the cloud with platforms such as ThingSpeak and Firebase for real-time analytics and historical data trends.

- It is to be planned the integration of a mobile application in Android Studio to provide various real-time services to the users, such as AQI data, alerts for when the toxicity level crosses the specified threshold, and predictive analysis based on AI techniques.

- The comparison of various AQI calculation models including those from the US EPA, WHO, and local standards in terms of their accuracy and efficiency with varying environmental conditions.

- The system’s performance can be critically evaluated across the metrics of data accuracy and response time under real-life testing conditions over a spectrum of environmental settings in order to address reliability.

# SIGNIFICANCE OF THE PROJECT

# IMPACT ON PUBLIC HEALTH AND ENVIRONMENT

Air pollution presents a serious danger to public health and the environment, causing respiratory diseases, heart ailments, and climate change. Air quality measurement in real time is crucial to minimizing these threats. The proposed IOT-Based AQI Meter System utilizes advanced sensors with cloud computing data processing technology for real-time monitoring of air pollutants and facilitate timely intervention and informed decision-making.

- SIGNIFICANE OF THE PROJECT

- PUBLIC HEALTH BENEFITS

There is many adverse health effects associated with air pollution: asthma, bronchitis, lung cancer, and cardiovascular disease. WHO estimates that air pollution-related diseases cause more than 7 million premature deaths each year (WHO, 2021). The proposed system will provide real-time air quality data:

- Enables an individual to implement preventive measures (wearing masks or limiting outdoor activities, for instance) during a high pollution level.

- Accounts for pollution-related illnesses are available for policymakers and clinical practitioners to keep observing on increasing or decreasing trends.

- Integrating with healthcare systems on the Internet of Everything level, the Smart City is to make better predictions.

- ENVIRONMENTAL IMPACT

The climatic alterations and ecological calamities are substantially caused by industrial discharges, pollution from vehicles and other causes, and deforestation. The AQI Meter System helps to alleviate these effects by:

- The contribution levels of PM2.5, PM10, CO, NO2, SO2, and O3 to acid rain and smog formation are being monitored (Gao et al., 2022).

- Supplying instant alerts to genuflect emissions from industries and vehicles to keep the authorities plugged in.

- Gathering long-term air quality data for predictive modeling to help climate studies.

# TECHNOLOGICAL  CONTRIBUTION

The invention of an IoT based Air Quality Index (AQI) Meter System is a major frontier in technological advancement for environmental monitoring. This system comprises ARDUINO UNO,ESP32 and ESP8266 microcontrollers, different types of PM2.5, PM10, and MQ-series Gas Sensors such as MQ-5 and MQ-135. The system collects real-time air quality data over cloud-based data transmission platforms like ThingSpeak, Firebase, and AWS IoT. The following are the greatest technological contributions made by this system:

- REAL-TIME AIR QUALITY MONITORING

The system collects online air-quality data from environmental sensors continuously in real-time and transmits it to a cloud platform for monitoring. Integrated with Wi-Fi microcontrollers (ESP32/ESP8266), it will offer asynchronous facilities for users to access pollution levels remotely but in real-time view.

- MULTI-SENSOR INTEGRATION FOR COMPREHENSIVE ANALYSIS

While traditional AQI devices measure from a limited set of sensor inputs, this particular setup features an assemblage of multiple gas sensors (MQ-135, MQ-5) and particulate monitoring sensors (PM2.5, PM10) to assess air pollutants such as CO₂, CO, SO₂, NO₂, O₃, and VOCs. The sensor fusion technique further enhances the accuracy of the measurement while also offering an integrated view of air pollution levels.

- CLOUD BASED DATA STORAGE  AND VISUALIZATION

Data storage is ensured in cloud servers such as ThingSpeak, Firebase, AWS IOT, and Blynk APP, and data retrieval as well as visualization are answered. API integration allows users access to historical air-quality trends, hazardous pollution levels alerts, and trend analysis via dashboards similar to Grafana, MATLAB, Python etc.

- WIRELESS COMMUNICATION AND IOT CONNECTIVITY

Depending on the type of signal wireless data can be transmitted over Wi-Fi; MQTT protocol, Hypertext Transfer, and Hypertext Transfer Secure Protocol; minimizing dependencies over wired infrastructure. Hence scalability of the system is made possible, making it suitable for field deployment into cities, smart cities, and industrial zones.

- AI-BASED  PREDICTIVE ANALYSIS  AND DECISION SUPPORT

The system can predict future air quality trends based on historical data by integrating machine learning algorithms and AI-based analytics. AI models trained on air pollution datasets can identify sources of pollution and also recommend mitigation strategies.

- LOW-POWER CONSUMPTION AND EDGE COMPUTING

With regard to power efficiency, the system implements low-power modes in ESP32/ESP8266 and utilizes battery packs with optimized power management circuits. In addition, edge computing allows preliminary data processing at the device level prior to cloud transmission, minimizing latency and bandwidth consumption.

- MOBILE AND WEB APPLICATION INTEGRATION

Within the Android mobile app, which is developed using Java and XML, users are offered a more intuitive interface for real-time AQI data viewing, alert setting, and notifications, in addition to web-based dashboards for remote monitoring.

# SUSTAINABLE DEVELOPMENT GOALS(SDGs)

- SDG 3: Good Health and Well-being

Air pollution is a serious environmental health risk, causing illnesses such as respiratory disorders, cardiovascular problems, and many others. The AQI that you provide aids in real-time monitoring and creates alerts to reduce exposure to dangerous pollutants.

- SDG 11: Sustainable Cities and Communities

Sustainable planning for urban areas requires urban air quality assessments. Providing the smart city program with real-time AQI data produced by your system therefore supports a policy agenda for emission reduction and air quality improvement.

- SDG 13: Climate Action

Our system directly contributes to climate action through the provision of data that informs policy makers and researchers on pollution sources and mitigation measures against climate change impacts.

- SDG 9: Industry, Innovation, and Infrastructure

An initiative to develop advanced IoT-based solutions for monitoring environment through smart sensing, cloud computing, and predictive analytics with AI.

- SDG 15: Life on Land

Air pollution directly affects biodiversity with respect to ecosystems. The entire team has been monitoring air quality in urban and rural areas from the date of inception to assess environmental  impacts and conservation efforts.

# THESIS ORGANIZATION

In our final year project thesis of air quality index meter system of organization as shown below:

- Chapter 1- In this chapter we discuss about the introduction of our final year project in which we research paper including background(Overview of Air Pollution and Its Impact and Importance of Air Quality Monitoring),Problem statement(Challenges in Existing Air Quality Monitoring Systems and Need for a Real-time IoT-based Solution), Objectives (main objectives and specific objectives) and Significance of the Project (Impact on Public Health and Environment and Technological Contribution).

- Chapter 2- In this chapter we discuss about the literature review of our final year project in which we research paper including, Overview of Air Quality Monitoring Techniques, Existing Systems(Government Air Monitoring Stations, IoT-based Air Quality Monitoring Solutions, Mobile and Handheld Air Quality Sensors), Limitations of Existing Solutions and Proposed System.

- Chapter 3- In this chapter we discuss about the methodology of our final year project in which we research paper including, system architecture, block diagram, hardware components (ESP32 AND ESP8266,ARDUINO UNO,MQ SERIES GAS SENSOR(MQ-135 AND MQ-5,PM2.5 AND PM10 SENSORS,BATTERY PACK,POWER ADAPTER,CHARGER SETUP,WEATHERPROOF HOUSING, WiFi/BLUETOOTH MODULES,BREADBOARD AND CONNECTING WIRES),software components(android studio and firebase, blynk app, matlab ,python, Arduino Framework and Embedded Firmware, vs code firmware coding, ThingSpeak,mqtt protocols, AWS IOT, Adafruit IO, GitHub, Authentication mechanism, Gafrana, excel, HTTP/HTTPS, sensor and WiFi libraries, APIs key and PlatformIO ide),data processing  and storage(Sensor Calibration and Data Filtering and Data Logging and Historical Analysis),alerts and notification systems, applications, use cases and sequence diagram.

- Chapter 4- In this chapter we discuss about the implementation of our final year project in which we research paper including, system development, data transmission and communication, power management and energy efficiency and security and authentication mechanisms.

- Chapter 5- In this chapter we discuss about the simulation and results of our final year project in which we research paper including, experimental setup(hardware and software configuration and sensor placement and calibration),data analysis and visualization(real-time air quality index(AQI)calculation and comparison with government AQI data),performance evaluation(accuracy of sensor data, response time analysis and power consumption analysis) and discussion and findings.

- Chapter 6- In this chapter we discuss about the conclusion and future work of our final year project in which we research paper including, summary of work, key findings, limitations, future work(AI-based predictive analysis for air quality, integration with smart city infrastructure and battery optimization and solar power integration) and final thoughts.

Chapter Two

# LITERATURE REVIEW

# OVERVIEW OF AIR QUALITY MONITORING TECHNIQUES

These risks are very profound in the environment and public health areas. Continuous monitoring and proactive management strategies for air pollution have become increasingly more strategic. Traditional air quality monitoring systems, though, are often expensive, stationary, and very limited spatially and chronologically. The development of the IoT-based Air Quality Index (AQI) systems has thrown open the doors of low-cost, real-time, up-scalable environmental monitoring. This is a kind of monitoring made possible with the integration of different sensors for measuring air pollutants, like PM2.5, PM10, SO₂, NO₂, O₃, CO, H₂, LPG, CH₄, and alcohol, and can upload information collected to the cloud for further analysis and visualization, and some may even allow for real-time data collection, processing, and transmission. This study highlights the use of ESP32 and ESP8266 microcontrollers for sensor integration and Wi-Fi communication, ensuring seamless data transmission to cloud platforms like ThingSpeak, Firebase, or AWS IoT. The research emphasizes the importance of data visualization, real-time alerts, and predictive analytics using machine learning algorithms. Several other reviews of literature indicate that machine learning models, including but not limited to regression-based and deep learning techniques, can help improve predictive accuracy, making it possible to provide early alerts for worsening air quality. A lot of IoT based AQI systems are increasingly applied for urban planning, public health management, and industrial compliance, thereby giving actionable insights to abate pollution levels.

Key Research Findings from Literature:

- Real-time Monitoring & Data Transmission:

IOT-based AQI systems give us ongoing environmental info with more spatial detailing than we have from typical monitoring stations.

- Sensor Fusion & Calibration:

The requirement for sensors with high accuracy, calibration potential, and machine learning-based corrections to improve measurement confidence is what comes from most of the studies.

- Cloud Integration & Predictive Analytics:

Early predicted precipitation generates beneficial data, with proper suggestion systems for equipment requirements.

- Public Awareness & Decision Support:

Community and policymakers are armed with an authentic source of data to fight pollution accessibly.

These investigations advocate greater relevance toward IoT-based AQI systems for environmental monitoring, eventually leading to innovative ways of mitigating the air pollution problem cost-effectively. Future studies should consider energy-efficient sensor network alternatives, long-term calibration strategies, and AI-based predictive models with the aim of completing system performance and consistency.

Table 2.1: LITERATURE REVIEW OF AIR QUALITY INDEX METER SYSTEM

| STUDY | AUTHORS | YEAR | KEY FINDINGS |
| --- | --- | --- | --- |
| Deployment of Low-Cost Sensors | Kumar et al. | 2019 | The study showcased the efficacy of low-cost, IoT-based sensors in monitoring scalable air quality. |
| Predictive Analytics in AQI Systems | Smith and Lee | 2020 | The integration of machine learning for predictive analytics has been highlighted as a method to improve early warning systems. |
| Real-Time Data for Public Health | Johnson et al. | 2021 | The use of real-time, IoT-based air quality data has significantly enhanced public health responses. |
| Enhancing Environmental Awareness | Chen and Patel | 2022 | The article highlighted the significant role of IoT in enhancing public engagement and raising awareness about air quality issues. |

# EXISTING SYSTEM

# GOVERNMENT AIR MONITORING STATIONS

For the last several years, air quality monitoring has been increasingly seen as an integral part of environmental management owing to increasing alarm about pollution and its effect on human health. Conventional air quality monitoring stations consist of fixed monitoring stations installed by governments, fitted with high-grade precise sensors. While the data provided by these air quality monitoring stations, even by their government agencies such as the Environmental Protection Agency (EPA) in the United States and other countries, are very accurate, the stations are expensive, show no mobility, and require heavy infrastructure for their installation and upkeep. To overcome these challenges, IoT-enabled air quality monitoring systems capable of integrating low-cost sensors with a wireless communication facility and a cloud facility for real-time data collection and analysis have been developed. These systems can easily be carried out, are inexpensive, and scalable into wider deployment in an urban and industrial area. Some of this research clearly showcase the effectiveness of IoT-based AQI systems data.

- Government-Installed Fixed Monitoring Stations:

Traditional monitoring stations provide reliable data but are quite expensive. They need to be calibrated regularly, and the data they collect covers a limited area.

Example:

The EPA Air Quality Monitoring Network, which provides real-time AQI data in cities but lacks flexibility.

- Mobile and IOT-Based Air Quality Monitoring Systems:

IOT-based systems use low-cost sensors (e.g., MQ-135, PM2.5 AND PM10, MQ-5) and wireless connectivity (Wi-Fi) to collect and transmit data.

Example:

"Design and Development of an Indoor and Outdoor Air Quality Monitoring System in Real Time Based on IoT Technology" [1] reports an IoT-based AQI system which uses ESP32, together with multiple air quality sensors, and is connected to cloud platforms so as to be able to provide the real-time data visualization. It points out low-cost, easy deployment, and broad accessibility of IOT-based solutions vis-a-vis conventional methods.

- Smart City Applications with IOT and AI Integration:

Long term prediction of air pollution levels in a city can be used after developing an atmospheric response model, precipitation form, and compounds in pollutants.

Example:

Utilizing machine learning to forecast air pollution levels and send alerts for potential health hazards.

Table 2.2:LITERATURE REVIEW OF GOVERNMENT AIR MONITORING STATIONS

| Ref # | Published year | Methodology | Results/ Findings | Parameters | Shortcomings /Gaps |
| --- | --- | --- | --- | --- | --- |
| 1. | 2020 | IoT and ML-based smart system for garbage monitoring | Real-time AQI monitoring and fire detection are being implemented for dump yards and garbage management. | Temperature, moisture, light intensity | The application is restricted to garbage management and does not cover general air quality monitoring. |
| 2. | 2020 | IoT-based environmental quality control system | The method is effective in monitoring environmental pollutants. | Various air pollutants like CO2, SO2. | Large-scale deployments often face high costs and complexity. |
| 3. | 2020 | IoT framework for urban air quality control | The text focuses on efficient air quality management with solutions that are nearly zero. | O3, NOx, CO2. | Limited scalability; issues with sensor calibration. |
| 4. | 2020 | IoT-based indoor air quality control system | The system allows for real-time monitoring and control of indoor air quality. | CO2, VOCs | Indoor only; does not address outdoor air quality monitoring |
| Proposed System | 2021 | IoT-based system with Arduino and various sensors | The system monitors various pollutants like O3, SO2, CO, and particulate matter, providing data through a cloud-based interface. | O3, SO2, CO, particulate matter. | The deployment is limited and requires further testing for large-scale outdoor environments and long-term data accuracy. |
| 1. | 2018 | IoT-based pollution monitoring | The system is continuously monitoring pollution levels through the use of multiple sensors. | CO, particulate matter, smoke. | Limited to predefined areas; lacks user interaction via mobile apps |
| 2. | 2018 | Edge computing-based IoT architecture | The proposed solution aims to reduce cloud dependency by utilizing low-cost monitoring methods and local data processing. | CO, NOx, VOCs | The edge computing setup is highly complex and not easily scalable. |
| 3. | 2018 | IoT-enabled air pollution monitoring and awareness. | Tracks pollutants and raises public awareness through displays and notifications | CO, NH3, particulate matter, smoke | Limited user customization; lacks predictive analytics for future air quality trends |
| Proposed System | 2023 | IoT-enabled air pollution meter with smartphone dashboard | The mobile app offers real-time data and alerts on air quality, including AQI calculations. | CO, NH3, particulate matter, smoke. | The system requires constant internet connection for real-time updates and is restricted to areas with smartphone accessibility. The system requires constant internet connection for real-time updates and is restricted to areas with smartphone accessibility. |
| 1. | 2020 | IoT-based smart environment monitoring | Detects pollutants like CO, smoke, gas; uses LCD for display. | CO, smoke, gas | Data retrieval limited to every 8 hours; no IoT integration. |
| 2. | 2008 | Environment-al air pollution monitoring with IEEE 1451. | Monitors CO, NO2, SO2, O3 using semiconductor sensors | CO, NO2, SO2, O3 | The process necessitates calibration for various gases prior to each measurement |
| 3. | 2018 | Centralized air pollution detection and monitoring | Uses microcontroller and WiFi module; supports various gas sensing methods | Multiple pollutants (method dependent) | Lacks specific IoT feature integration; manual data evaluation. |
| Proposed System | 2022 | Real-time indoor/outdoor monitoring with IoT | Uses ESP32, MQ135, DHT22; displays data via BLYNK app | CO2, temperature, humidity | Limited range due to WiFi module; performance dependent on stable network connection. |

Key enhancements in proposed systems:

- The collaboration between the IOT and cloud-based solutions is expected to bring new lengths to the availability of the data blocks.

- Real-time monitoring mobile applications enhance engagement of users.

- The integration of sensors with microcontrollers helps ensure that the implementation is cost-effective.

# IOT-BASED AIR QUALITY MONITORING SOLUTIONS

There exists an appalling condition of air pollution about the environment affecting human health and ecosystems. The traditional air quality monitoring systems, which have been predominantly using expensive and complicated gadgets, rarely provide any information in real time or in a scalable manner. The emergence of IoT as a disruptive technology has allowed real-time air quality monitoring systems through sensor-based low-cost solutions. Hence, this review presents the recent advancements made in IoT-based air quality monitoring systems, involving sensor integration, data transmission, cloud computing, and artificial intelligence (AI) applications.

Table 2.3:LITERATURE REVIEW OF AIR QUALITY MONITORING SOLUTIONS

| Sr No | Study | Key Focus | Findings |
| --- | --- | --- | --- |
| 1 | Sharma, Gupta, and Verma (2022) | IOT sensors enable us to monitor environmental parameters in real-time. | Integration of PM2.5, PM10, and gas sensors with ESP32; cloud-based data processing and real-time visualization. Sensors include PM2.5, PM10, and gas for the integration of ESP32; the processing of data shall be cloud based and real time visual. |
| 2 | Brown and Lee (2021) | Wireless communication technology is used for environmental monitoring through IOT. | Wi-Fi, Bluetooth, LoRa, and NB-IoT are pitted against each other in terms of real-time and range efficiency in terms of ambient air quality sensoring. LoRaWAN is highlighted as a technology of long-range efficiency and low energy consumption. |
| 3 | Zhang, Wang, and Chen (2022) | LoRaWAN vs. NB-IOT for air quality monitoring applications | LoRaWAN stands to serve a great purpose when it comes to long-distance and low-power consumption applications. On the other hand, NB-IOT provides a better penetration in urban areas. Hence a hybrid model is recommended. |
| 4 | Kumar and Singh (2022) | Efficient Transmission of Data for Air Quality Monitoring in IOT-Based Systems | However, symmetrically, MQTT's real-time message transfer is achieved lower on latency and power. |
| 5 | Nguyen, Agrawal, and Kim (2023) | AI-powered air quality monitoring | AI in pollution forecasting thereby accounting for improved accuracy with the use of integration techniques for added sensor reliability. |

# MOBILE AND HANDHELD AIR QUALITY SENSORS

Mobile and handheld air quality sensors are compact, portable electronic devices designed to measure air pollutants in real-time. Such sensors are widely used in IOT-Based Air Quality Index Meter Systems for monitoring environmental conditions outdoors and indoors. This selection of sensor depends on the pollutants being measured types, accuracy, power consumption, and connection.

Table 2.4:COMMON MOBILE AND HANDHELD AIR QUALITY SENSORS USED IN AQI METER SYSTEM

| Sensor model | Measured pollutants | Technology used | Accuracy | Power consumption | Communication Interface | Application |
| --- | --- | --- | --- | --- | --- | --- |
| MQ-135 | CO₂, NH₃, NO₂, Benzene, Alcohol | Semiconductor | Moderate | Low | Analog/Digital | Indoor/Outdoor air quality monitoring |
| MQ-5 | CH₄, LPG, CO, Alcohol,H2. | Semiconductor | Moderate | Low | Analog/Digital | Gas leakage detection, AQI systems |
| SDS011 | PM2.5,PM10 | Laser scattering | High | Moderate | UART | Outdoor and industrial air quality monitoring |
| PMS5003 | PM1.0,PM2.5, PM10 | Laser scattering | High | Low | UART | Indoor and outdoor air pollution monitoring |
| Nova PM SDS198 | PM2.5,PM10 | Laser scattering | High | Moderate | UART | Smart city and personal air Monitoring |
| BME 680 | VOCs, CO₂, Temperature, Humidity, Pressure | MEMS-based gas sensors | High | Low | I²C/SPI | Smart home and wearable air quality monitoring |
| SEN0177 | Formaldehyde (HCHO) | Electrochemical | High | Moderate | Analog | Industrial and indoor air quality monitoring |
| MiCS-5524 | CO, NO₂, NH₃, CH₄, Ethanol | MEMS-based gas sensor | Moderate | Low | Analog | Automative and industrial applications |
| ZE25-O3 | Ozone(O3) | Electrochemical | High | Moderate | UART | Outdoor ozone pollution monitoring |
| Cairclip NO2/CO | NO2,CO | Electrochemical | High | Low | Bluetooth | Personal and mobile air quality tracking |

Features of mobile and handheld air quality Sensors in an AQI system

- Portability:

This device is light and small weight in size, so moving it around is easy.

- Real-time data collection:

Offers immediate readings of the concentration of pollutants present in the atmosphere.

- Wireless Connectivity:

They support Wi-Fi, Bluetooth, LoRaWAN, and cell-based communication.

- Multi-Pollutant Detection:

Measuring gases (CO, NO₂, O₃, VOCs) and particulate matter (PM2.5, PM10).

- Battery-Powered Operation:

The system ensures on-site and off-site monitoring without letting up at any moment.

- Integration with IOT Platforms:

It sends data to the analysis in the cloud via a range of cloud services (ThingSpeak, Firebase, AWS IOT).

# LIMITATIONS  OF EXISTING SOLUTIONS

Although the monitoring systems of the air quality index have improved tremendously with the introduction of IoT, cloud computing, and sensor networks, still, the present-day solutions are beleaguered with issues ranging from accuracy through efficiency to scalability. The key limitations are as follows:

- Limited Sensor Accuracy and Calibration Issues:

AQI systems generally use miniaturized sensors such as MQ-135, MQ-5, PM2.5, and PM10 that involve unsatisfactory precision and stability while available. These require frequent calibrations. However, most of the IOT solutions have not yet automated this calibration procedure. Most of the inaccuracies occur due to sensor drift, cross-sensitivity, and other environmental factors.

- Short Battery Life and Power consumption Constraints:

The portable battery-operated wireless AQI meters face further power management constraints owing to the continuous working of sensors, microcontrollers, and wireless communication modules. Real-time transference of data via Wi-Fi and cloud services shortens battery life, necessitating frequent recharges or needing external power sources.

- Limited Real-Time Data processing and Cloud  Dependency:

Most AQI Monitoring Systems That Use IoT Mobile Send Their Raw Data for Processing to Cloud Platforms such as ThingSpeak, Firebase, or AWS IoT. Therefore, Such Dependence Adversely Affects the Response Time and Capability of On-board Data Processing: Edge Computing, Says This, Can Improve Efficiency, but Current Implementations are not Sufficiently Localized to Process.

- Insufficient Coverage and Scalability Issues:

The air quality monitoring networks being studied existed in urban polluted areas and downplayed mostly rural or industrial sites. It states that large-scale deployment is hindered mainly by the costs of sensors, network infrastructure, and maintenance. In addition, the IoT-based solutions depend on either Wi-Fi or LoRaWAN, which are limited in terms of range and connectivity over remote areas.

- LACK OF PREDICTIVE ANALYSIS AND AI-BASED ANOMALY DETECTION:

Although some high-quality Ambient Air Quality Index monitoring solutions provide real-time visualization of the status and trend of air quality, most lack advanced capabilities to employ artificial intelligence and machine learning-based predictive analytics. Emphasis is given to the point by stating that AI modeling will significantly improve the forecasting and detection of anomalies in air quality; however, most current designs are threshold-based detection systems.

- ENVIRONMENTAL AND WEATHER CONDITIONS AFFECT SENSOR PERFORMANCE:

The sensor readings can be influenced by the external environmental conditions. Research proves that gases sensors such as MQ-135 and MQ-5 specifications show fluctuation in sensing performance with relative humidity levels, and they thus require compensating algorithms that are seldom integrated into the designs.

- DATA SECURITY AND PRIVACY CHALLENGES:

Cloud-based AQI monitoring systems act as information vaults for environmental data, which are inevitably prone to threats of cyberattacks. It is evidently clear that most of the solutions do not provide robust encryption and authentication mechanisms so that unauthorized access and data breaches may easily occur.

Table 2.5:LIMITATIONS OF EXISTING AIR QUALITY INDEX METER SYSTEMS

| FEATURES | LIMITATION | EXPLANATION |
| --- | --- | --- |
| Sensor Accuracy | Easily aggregated by physical conflicting boundaries and negative external environmental influences | Environmental factors such as temperature, humidity, and the presence of certain gases affect the operating principle of inexpensive sensors like the MQ-135, PM2.5, and PM10, thus resulting in erroneous readings. |
| Real-time data processing | High latency in data transmission | Many systems do not reveal air quality readings instantaneously, with a result that the systems do not as effectively relay the state of those needing timely health responses. |
| Data Storage and Cloud Integration | Inadequate capacity and lack of data analytics would be two challenging factors. | Rather than cloud-based solutions, the majority of systems favor using local storage, forcing the companies to restrict historical data analysis and AI-driven predictions. |
| Energy Consumption | High power consumption | AQI systems consist of sensors that function 24/7, and the inconvenience of draining batteries necessitates the frequent charging by the user, while the need to maximally conserve the energy ecosystem constrains supposed-to-be portable setups, rendering the same unusable in remote locations. |
| Network Connectivity | Limited range due to Wi-Fi dependency | Wi-Fi-based systems face issues in coverage, in contrast to LoRaWAN or NB-IoT, which come with higher costs and complexity of deployment. |
| Sensor Longevity and Maintenance | Frequent calibration required | Continuous exposure to pollution causes gradual degradation in sensors, leading to the need for frequent recalibration and replacement, hence the added cost for operational activities. |
| User Interface and Accessibility | Poor user experience | Certain systems are indeed lacking the mobile integration, as well as dashboards or API support; thereby, they limit the ability of real-time visualization and access. |
| Compliance with Standards | Non-adherence to regulatory requirements | Many cheap AQI monitors fail cross-country measure standards such as EPA, WHO, and ISO 4225 and thereby reduce their reliability for official reporting. |

# PROPOSED SYSTEM

Air pollution remains a very significant environmental problem affecting human beings and the ecosystem. Conventional air quality monitoring systems are very expensive and not accessible in real-time. The proposed IoT-based Air Quality Index (AQI) Meter System will provide an Ad-cost, real-time air quality monitoring solution using ESP32, ESP8266, Arduino uno microcontrollers. PM2.5, PM10, MQ gases (SO₂, NO₂, CO, CH₄, etc.) will be captured from the concerned environment and transmitted to the cloud for visualization, analysis, and decision-making.

# SYSTEM ARCHITECTURE

Key components of the proposed system are outlined below:

- HARDWARE COMPONENTS

- ESP32,ESP8266 AND ARDUINO UNO:

The microcontroller for data acquisition and transmission.

- MQ-SERIES GAS SENSORS(MQ-135 AND MQ-5):

It detects harmful gases such as SO2, NO2, O3, CO, SnO2, H2, LPG, CH4, CO, and Alcohol.

- PM2.5 AND PM10 SENSORS:

The device measures the concentration of particulate matter.

- POWER SUPPLY SYSTEM:

For continuous usage, the user must have on battery pack, charger, and adapter.

- WEATHERPROOF HOUSING:

This protects components from various environmental conditions.

- SOFTWARE AND CLOUD INFRASTRUCTURE:

- IOT PLATFORMS:

ThingSpeak, AWS IOT, Firebase, Blynk IOT and Adafruit IO for cloud storage and analysis.

- ANDROID APPLICATION:

It's a real-time monitoring app programmed in Java/XML using Android Studio.

- COMMUNICATION PROCTOCOLS:

MQTT,HTTP/HTTPS AND AUTHENTICATION MECHANISMS for secure data transmission.

- DATA PROCESSING AND VISUALIZATION:

Data Analysis Tools such as Matlab, Python, and Grafana are used as data analytics tools.

- WORKING MECHANSIM:

- Sensors pick up air quality data  at given time intervals.

- ESP32,ESP8266 and ARDUINO UNO analyzing sensors and transmitting data with Wi-Fi to cloud platforms was once considered to be the domain for complex software development.

- The cloud system stores, analyzes, and displays data on dashboards like ThingSpeak, Firebase and Adafruit IO.

- The mobile app renders real-time AQI monitoring and alerting services for when contamination levels surpass specific standards.

- A computerized system is indispensable in any informational endeavor.

- FEATURES AND ADVANTAGES:

- Cloud-based data storage powers up real-time monitoring.

- Use anywhere inside or outside with wireless portability.

- The use of AI-based predictive analysis is being utilized for trend forecasting.

- A mobile app that makes it easy for users to visualize data in real-time and receive alerts.

- A cost-effective alternative to traditional AQI meters.

Chapter Three

# METHODOLOGY

# SYSTEM ARCHITECTURE

The design of an IoT-based Air Quality Index (AQI) Monitoring System is a worthy and commendable venture that tackles pressing environmental issues. Such systems generally have multiple components that are essential in ensuring accurate and real-time air quality monitoring.

# SENSING LAYER

This layer is involved in both the detection and measurement of various pollutants in the air. Default items include:

- SENSORS:

In order to detect MQ-135(SO2,NO2,O3 and CO) and MQ-5 (SnO2,H2, LPG, CH4, CO and Alcohol) and particulate matter of sizes PM2.5 and PM10, devices have been developed. The sensors are capable of converting various physical phenomena into electrical signals for further processing.

- MICROCONTROLLER UNIT(MCU):

The core processing unit compiles data from the sensors, processes it in an initial stage, and handles various protocols for data communication. For example, the ESP32 and ESP8266 microcontroller have been successfully implemented in such systems for the dedicated Wi-Fi integrated and efficient processing capabilities. The Arduino UNO microcontroller has been successfully implemented in such systems for the dedicated Wi-Fi,Bluetooth integrated and efficient processing capabilities.

# COMMUNICATION LAYER

The primary benefit of this layer is that it ensures the convergence of data from sensors and their transmission to centralized servers or cloud environments.

- Communication Modules:

Wireless transmission of data is possible by the utilization of Wi-Fi and HC-05 (Bluetooth module). The module that best fits a solution depends on aspects like range, power requirements, and data requirements.

- Protocols:

Implementing the use of standardized communication protocols, such as MQTT and HTTP/HTTPS, could constitute a highly reliable and efficient mode of data exchange between devices and the servers.

# DATA PROCESSING AND STORAGE LAYER

Once the data is received, this layer takes charge of the processing, analysis, and storage of the data. Key components include:

- CLOUD COMPUTING PLATFORMS:

There are scalable resources available from AWS, Azure, Google Cloud for real-time processing and storage.

- DATABASE:

Data stores, also known as structured storage solutions, such as SQL databases, GAFRANA databases, AdafruitIO database and real-time database are an organizational measure to ensure efficient retrieval and analysis.

- Data Analytics Tools:

These various machine learning algorithms and statistical tools are pivotal in the interpretation of data patterns, forecasting the pollution trend, and generating implementable solutions.

# APPLICATION LAYER

This interaction layer provided interfaces for stakeholders to engage with the system. Said interfaces included:

- Web and Mobile Applications:

A user-friendly facility will provide the real-time air quality data together with historical perspectives and predictive analytics. Such applications can also send alerts whenever the pollutants in the air reach defined thresholds.

- APIs:

Application Programming Interfaces allow third party developers access to data so that they can integrate it into other applications or services, thereby enabling and extending value and innovation.

# POWER MANAGEMENT LAYER

This layer mainly focuses on ensuring continuous operation, specifically in remote areas:

- Power Sources:

Incorporation of renewable energy sources, such as solar panels and weatherproof housing can provide sustainable power solutions for the sensing units.

- Energy Harvesting Modules:

These modules collect and store energy from environmental sources, enhancing the system's autonomy and reducing maintenance requirements.

# SYSTEM ARCHITECTURE DIAGRAM

The system architecture diagram of air quality index meter system figure as shown below:

Figure 3.1:SYSTEM ARCHITECTURE OF AIR QUALITY INDEX METER SYSTEM

# BLOCK DIAGRAM

The following block diagram shows how hardware and software components are integrated to create an ideal Air Quality Index Meter System for our FYP thesis. The breakdown of major components and how these interact is here:

- HARDWARE COMPONENTS

- Microcontrollers:

Its brain is composed of Arduino UNO, ESP32/ESP8266, where it processes all sensor data and handles communication.

- Sensors:

The MQ-135 and MQ-5 gas sensors detect various air pollutants, while PM2.5 and PM10 sensors measure particulate matter.

- Connectivity:

On a protocol service, the cloud platform transmits information through the Wi-Fi/Bluetooth module.

- Power Management:

The battery design with charger setup and with power source adapter could allow both portable and fixed installations.

- Physical Components:

The weatherproof housing offers outdoor protection and is equipped with a breadboard and connecting wires for prototyping.

- SOFTWARE  COMPONENTS

- Developed platforms:

The Arduino Framework, VS Code, and PlatformIO IDE are utilized for firmware development.

- Mobile development:

The use of Android Studio for custom mobile app creation and Blynk for rapid IOT interface development was utilized.

- Cloud Services:

The use of Firebase, AWS IoT, ThingSpeak, Adafruit IO, and MQTT protocols for data storage, processing, and visualization.

- Data Analysis:

The use of MATLAB, Python, Grafana, and Excel is utilized for data processing and visualization.

- System Integration:

Libraries, APIs, authentication mechanisms, and version control (GitHub) are essential tools for ensuring secure and reliable operation.

- DATA FLOW:

The red dashed line illustrates the process of data flow from sensors within the system.

- Sensors are devices that collect data on air quality.

- Microcontrollers are used to process this data.

- WiFi/Bluetooth modules are devices that transmit data to cloud services.

- The data is analyzed and visualized using various platforms.

The block diagram of air quality index meter system figure as shown below:

Figure 3.2:BLOCK DIAGRAM OF AIR QUALITY INDEX METER SYSTEM